## 1. Cover & KPIs
Executive Summary — 10 MW / 20 MWh BESS, 15-year project finance
Romanian aFRR + PZU arbitrage • Real DAMAS-anchored bids • 4 scenarios across PICASSO + market-share dynamics
Project facts
EPC investment | €3.50M | €175/kWh installed
Equity / Loan split | 30% / 70% | Equity = €1.05M, Loan = €2.45M
Loan terms | 6.0% over 10 years | Annuity = €333k/yr
OPEX + Insurance | 2.5% of EPC | €88k/yr Y1, +3%/yr inflation
Augmentation | 10% of EPC at Y5 + Y10 | €350k each event
Project life / Discount rate | 15 years / 8% | DSCR covenant 1.20x (lender standard)
Battery | 10 MW / 20 MWh | RTE 0.97, full 0-100% SOC, 1 cycle/day
Degradation | 2.5%/yr | Capacity fade applied to all revenue legs
Headline KPIs by scenario
Scenario | Y1 (model) | IRR (model) | Y1 (realistic) | IRR (realistic) | Payback (real)
A. Current (10% share, pre-PICASSO) | €2.39M | 149.77% | €1.07M | 33.31% | 1.8 yr
B. PICASSO go-live (Y1) (10% share) | €2.07M | 128.78% | €1.05M | 39.89% | 1.9 yr
C. Mature market (5% share, -40%) | €1.78M | 104.23% | €864k | 23.95% | 2.8 yr
D. Bear case (2% share, full saturation) | €1.18M | 57.21% | €649k | 7.21% | 12.0 yr
How to read these numbers (lender perspective)
• Pitch deck Y1 number → Scenario A (current state).
• 5-year average projection → blend of A + B (assumes PICASSO mid-period).
• Lender-grade Y3-Y8 bankability case → Scenario C (mature market).
• Lender stress test Y8-Y15 → Scenario D (bear case).
• If DSCR < 1.20 in any year → lender covenant breach. Either lower gearing (more equity), longer tenor, or equity injection.
• Numbers are SIMULATED on real Romanian DAMAS + OPCOM data. Compliance gates (ANRE/OPCOM/PRE/BRP/BSP/FSE) NOT applied — assumed obtained. Without them, all revenue = €0.
• Realistic operator drag (forecast error, market share guess, Tg/Td tariffs) typically reduces revenue another 30-50% vs the engineering optimum shown here.

## 2. Assumptions
Inputs & Assumptions
Battery technical
Power | 10 MW | Inverter rating
Energy capacity | 20 MWh | Daily throughput cap
RTE | 0.97 | User directive — 3% loss per round-trip
SOC band | 0% – 100% | User directive — full DOD
Cycles/day | 1 | Single round-trip per day
Degradation | 2.5%/yr | Capacity fade applied to all revenue legs
Financing
EPC investment | €3.50M | €175/kWh installed
Equity % | 30% | €1.05M
Loan % | 70% | €2.45M
Loan rate | 6.0% | Fixed-rate annuity
Loan term | 10 years | Annuity payment ≈ €333k
Discount rate (NPV) | 8% | Standard EU project finance
DSCR covenant | 1.20x | Lender standard
Operating costs
OPEX | 2.0% of EPC = €70k | Year 1, +3%/yr inflation
Insurance | 0.5% of EPC = €18k | Year 1, +3%/yr inflation
Augmentation | 10% of EPC at Y5 + Y10 | ≈ €350k per event
Physical stacking constraints (applied to BOTH model + realistic)
aFRR capacity stacking | × 1.00 | Pure availability reservation — independent of other streams
aFRR activation stacking | × 0.60 | Activation MWh competes with PZU throughput → ~60% of pure-aFRR
PZU stacking | × 0.50 | Capacity reservation costs PZU dispatch flexibility → ~50% of pure-PZU
Net stacking efficiency | ≈ 0.62 of naive sum | Matches empirical EU BESS data (Modo Energy, Magnus Energy, Field Energy: 65-75%)
Operational drag multipliers (realistic mode only, on top of stacking)
aFRR capacity drag | × 0.93 | REMIT/Tg/Td tariff erosion (~5-10%)
aFRR activation drag | × 0.25 | 10% market-share guess → realistic ~2.5% (the BIG haircut)
PZU drag | × 0.80 | Forecast error vs perfect-foresight backtest
Revenue scenarios — Y1 base values (BEFORE stacking + drag)
Scenario A — aFRR capacity Y1 | €363k | 10% market share, real DAMAS clearing
Scenario A — aFRR activation Y1 | €2.68M | Real per-slot DAMAS settlement
Scenario A — PZU Y1 | €835k | Real OPCOM dispatch
Scenario B — base Y1 multiplier | 0.75 | PICASSO live → -25% on aFRR; PZU unchanged
Scenario C — base Y1 multipliers | share 0.50, prices 0.60 | Mature market: 5% share, capacity at €5/MW/h
Scenario D — base Y1 multipliers | share 0.20, prices 0.40 | Bear case: 2% share, prices at German current level

## 3. Cashflow (Modeled)
BESS 15-year Cashflow — Engineering Optimum (no operator drag)
A. Current (10% share, pre-PICASSO)
Y1 rev | €2.39M | Y1 EBITDA | €2.30M | EBITDA margin | 96.33% | Equity IRR | 149.77% | MIRR | 23.52% | MOIC | 11.71x | Payback | 0.6 yr | NPV @8% | €6.82M | Avg ROE | 75.85% | Min DSCR | 2.85x | LLCR | 3.87x | PLCR | 4.54x
Year | aFRR capacity (€) | aFRR activation (€) | PZU arbitrage (€) | Total revenue (€) | OPEX (€) | Insurance (€) | EBITDA (€) | EBITDA margin (%) | Depreciation (€) | EBIT (€) | Interest expense (€) | EBT (€) | Tax (€) | Net income (€) | Principal payment (€) | Debt service total (€) | Debt outstanding YE (€) | DSCR | Augmentation (€) | Project FCF (€) | Equity FCF (€) | Cumulative equity FCF (€) | ROE (%) | ROIC (%) | Cash-on-cash yield (%)
1 | 363000 | 1605564.6 | 417593.5 | 2386158.1 | -70000 | -17500 | 2298658.1 | 9633% | -437500 | 1861158.1 | -147000 | 1714158.1 | -274265.296 | 1439892.804 | -185876.4976 | -332876.4976 | 2264123.5024 | 6.9054 | 0 | 2024392.804 | 1691516.3064 | 1691516.3064 | 13713% | 4467% | 16110%
2 | 353925 | 1565425.485 | 394939.0526 | 2314289.5376 | -72100 | -18025 | 2224164.5376 | 9611% | -437500 | 1786664.5376 | -135847.4101 | 1650817.1275 | -264130.7404 | 1386686.3871 | -197029.0875 | -332876.4976 | 2067094.4149 | 6.6817 | 0 | 1960033.7972 | 1627157.2996 | 3318673.6059 | 13207% | 4288% | 15497%
3 | 258807.6562 | 1144717.3859 | 365216.8353 | 1768741.8774 | -74263 | -18565.75 | 1675913.1274 | 9475% | -437500 | 1238413.1274 | -124025.6649 | 1114387.4625 | -178301.994 | 936085.4685 | -208850.8327 | -332876.4976 | 1858243.5821 | 5.0346 | 0 | 1497611.1334 | 1164734.6358 | 4483408.2417 | 8915% | 2972% | 11093%
4 | 232150.4677 | 1041692.8212 | 336733.8919 | 1610577.1807 | -76490.89 | -19122.7225 | 1514963.5682 | 9406% | -437500 | 1077463.5682 | -111494.6149 | 965968.9533 | -154555.0325 | 811413.9207 | -221381.8827 | -332876.4976 | 1636861.6994 | 4.5511 | 0 | 1360408.5357 | 1027532.038 | 5510940.2798 | 7728% | 2586% | 9786%
5 | 206664.3837 | 957613.3292 | 309446.8351 | 1473724.548 | -78785.6167 | -19696.4042 | 1375242.5271 | 9332% | -437500 | 937742.5271 | -98211.702 | 839530.8252 | -134324.932 | 705205.8931 | -234664.7957 | -332876.4976 | 1402196.9037 | 4.1314 | -350000 | 890917.5951 | 558041.0975 | 6068981.3772 | 6716% | 2251% | 5315%
6 | 185505.8873 | 877086.7538 | 283313.6725 | 1345906.3136 | -81149.1852 | -20287.2963 | 1244469.8321 | 9246% | -437500 | 806969.8321 | -84131.8142 | 722838.0178 | -115654.0829 | 607183.935 | -248744.6834 | -332876.4976 | 1153452.2203 | 3.7385 | 0 | 1128815.7492 | 795939.2516 | 6864920.6288 | 5783% | 1937% | 7580%
7 | 171512.9863 | 799987.9988 | 258293.7638 | 1229794.7489 | -83583.6608 | -20895.9152 | 1125315.1729 | 9150% | -437500 | 687815.1729 | -69207.1332 | 618608.0397 | -98977.2864 | 519630.7534 | -263669.3644 | -332876.4976 | 889782.8559 | 3.3806 | 0 | 1026337.8866 | 693461.3889 | 7558382.0177 | 4949% | 1651% | 6604%
8 | 167225.1616 | 739644.0765 | 237845.5075 | 1144714.7456 | -86091.1706 | -21522.7926 | 1037100.7824 | 9060% | -437500 | 599600.7824 | -53386.9714 | 546213.811 | -87394.2098 | 458819.6012 | -279489.5263 | -332876.4976 | 610293.3296 | 3.1156 | 0 | 949706.5726 | 616830.075 | 8175212.0927 | 4370% | 1439% | 5875%
9 | 163044.5326 | 721152.9746 | 218258.2304 | 1102455.7376 | -88673.9057 | -22168.4764 | 991613.3554 | 8995% | 0 | 991613.3554 | -36617.5998 | 954995.7557 | -152799.3209 | 802196.4347 | -296258.8979 | -332876.4976 | 314034.4317 | 2.9789 | 0 | 838814.0345 | 505937.5369 | 8681149.6295 | 7640% | 2380% | 4818%
10 | 158968.4193 | 703124.1502 | 199501.6637 | 1061594.2332 | -91334.1229 | -22833.5307 | 947426.5796 | 8925% | 0 | 947426.5796 | -18842.0659 | 928584.5137 | -148573.5222 | 780010.9915 | -314034.4317 | -332876.4976 | 3.2596e-09 | 2.8462 | -350000 | 448853.0574 | 115976.5598 | 8797126.1893 | 7429% | 2274% | 1105%
11 | 154994.2088 | 685546.0464 | 184788.416 | 1025328.6713 | -94074.1466 | -23518.5366 | 907735.9881 | 8853% | 0 | 907735.9881 | 0 | 907735.9881 | -145237.7581 | 762498.23 | 0 | 0 | 0 |  | 0 | 762498.23 | 762498.23 | 9559624.4193 | 7262% | 2179% | 7262%
12 | 151119.3536 | 668407.3953 | 170686.1422 | 990212.891 | -96896.371 | -24224.0927 | 869092.4273 | 8777% | 0 | 869092.4273 | 0 | 869092.4273 | -139054.7884 | 730037.639 | 0 | 0 | 0 |  | 0 | 730037.639 | 730037.639 | 10289662.0583 | 6953% | 2086% | 6953%
13 | 147341.3697 | 651697.2104 | 157173.4892 | 956212.0694 | -99803.2621 | -24950.8155 | 831457.9918 | 8695% | 0 | 831457.9918 | 0 | 831457.9918 | -133033.2787 | 698424.7131 | 0 | 0 | 0 |  | 0 | 698424.7131 | 698424.7131 | 10988086.7714 | 6652% | 1995% | 6652%
14 | 143657.8355 | 635404.7801 | 144229.7901 | 923292.4058 | -102797.3599 | -25699.34 | 794795.7058 | 8608% | 0 | 794795.7058 | 0 | 794795.7058 | -127167.3129 | 667628.3929 | 0 | 0 | 0 |  | 0 | 667628.3929 | 667628.3929 | 11655715.1643 | 6358% | 1908% | 6358%
15 | 140066.3896 | 619519.6606 | 134764.7101 | 894350.7604 | -105881.2807 | -26470.3202 | 761999.1595 | 8520% | 0 | 761999.1595 | 0 | 761999.1595 | -121919.8655 | 640079.294 | 0 | 0 | 0 |  | 0 | 640079.294 | 640079.294 | 12295794.4582 | 6096% | 1829% | 6096%
B. PICASSO go-live (Y1) (10% share)
Y1 rev | €2.07M | Y1 EBITDA | €1.98M | EBITDA margin | 95.77% | Equity IRR | 128.78% | MIRR | 23.58% | MOIC | 12.10x | Payback | 0.7 yr | NPV @8% | €6.88M | Avg ROE | 78.43% | Min DSCR | 3.02x | LLCR | 3.87x | PLCR | 4.59x
Year | aFRR capacity (€) | aFRR activation (€) | PZU arbitrage (€) | Total revenue (€) | OPEX (€) | Insurance (€) | EBITDA (€) | EBITDA margin (%) | Depreciation (€) | EBIT (€) | Interest expense (€) | EBT (€) | Tax (€) | Net income (€) | Principal payment (€) | Debt service total (€) | Debt outstanding YE (€) | DSCR | Augmentation (€) | Project FCF (€) | Equity FCF (€) | Cumulative equity FCF (€) | ROE (%) | ROIC (%) | Cash-on-cash yield (%)
1 | 448725 | 1204173.6 | 417593.5 | 2070492.1 | -70000 | -17500 | 1982992.1 | 9577% | -437500 | 1545492.1 | -147000 | 1398492.1 | -223758.736 | 1174733.364 | -185876.4976 | -332876.4976 | 2264123.5024 | 5.9571 | 0 | 1759233.364 | 1426356.8664 | 1426356.8664 | 11188% | 3709% | 13584%
2 | 437506.875 | 1174069.26 | 394939.0526 | 2006515.1876 | -72100 | -18025 | 1916390.1876 | 9551% | -437500 | 1478890.1876 | -135847.4101 | 1343042.7775 | -214886.8444 | 1128155.9331 | -197029.0875 | -332876.4976 | 2067094.4149 | 5.7571 | 0 | 1701503.3432 | 1368626.8456 | 2794983.7119 | 10744% | 3549% | 13035%
3 | 405240.743 | 1087481.6521 | 365216.8353 | 1857939.2303 | -74263 | -18565.75 | 1765110.4803 | 9500% | -437500 | 1327610.4803 | -124025.6649 | 1203584.8154 | -192573.5705 | 1011011.2449 | -208850.8327 | -332876.4976 | 1858243.5821 | 5.3026 | 0 | 1572536.9098 | 1239660.4122 | 4034644.1241 | 9629% | 3186% | 11806%
4 | 374314.4757 | 1004489.6313 | 336733.8919 | 1715537.9989 | -76490.89 | -19122.7225 | 1619924.3864 | 9443% | -437500 | 1182424.3864 | -111494.6149 | 1070929.7714 | -171348.7634 | 899581.008 | -221381.8827 | -332876.4976 | 1636861.6994 | 4.8664 | 0 | 1448575.6229 | 1115699.1253 | 5150343.2494 | 8567% | 2838% | 10626%
5 | 348736.3199 | 935849.5065 | 309446.8351 | 1594032.6615 | -78785.6167 | -19696.4042 | 1495550.6406 | 9382% | -437500 | 1058050.6406 | -98211.702 | 959838.9386 | -153574.2302 | 806264.7084 | -234664.7957 | -332876.4976 | 1402196.9037 | 4.4928 | -350000 | 991976.4104 | 659099.9128 | 5809443.1622 | 7679% | 2539% | 6277%
6 | 324203.1253 | 870013.5819 | 283313.6725 | 1477530.3797 | -81149.1852 | -20287.2963 | 1376093.8982 | 9313% | -437500 | 938593.8982 | -84131.8142 | 854462.084 | -136713.9334 | 717748.1505 | -248744.6834 | -332876.4976 | 1153452.2203 | 4.1339 | 0 | 1239379.9647 | 906503.4671 | 6715946.6293 | 6836% | 2253% | 8633%
7 | 300678.6302 | 806884.5476 | 258293.7638 | 1365856.9416 | -83583.6608 | -20895.9152 | 1261377.3656 | 9235% | -437500 | 823877.3656 | -69207.1332 | 754670.2324 | -120747.2372 | 633922.9952 | -263669.3644 | -332876.4976 | 889782.8559 | 3.7893 | 0 | 1140630.1284 | 807753.6308 | 7523700.2601 | 6037% | 1977% | 7693%
8 | 278127.733 | 746368.2065 | 237845.5075 | 1262341.4469 | -86091.1706 | -21522.7926 | 1154727.4837 | 9148% | -437500 | 717227.4837 | -53386.9714 | 663840.5124 | -106214.482 | 557626.0304 | -279489.5263 | -332876.4976 | 610293.3296 | 3.4689 | 0 | 1048513.0017 | 715636.5041 | 8239336.7642 | 5311% | 1721% | 6816%
9 | 260180.9772 | 698207.2851 | 218258.2304 | 1176646.4927 | -88673.9057 | -22168.4764 | 1065804.1106 | 9058% | 0 | 1065804.1106 | -36617.5998 | 1029186.5108 | -164669.8417 | 864516.6691 | -296258.8979 | -332876.4976 | 314034.4317 | 3.2018 | 0 | 901134.2688 | 568257.7712 | 8807594.5354 | 8233% | 2558% | 5412%
10 | 250103.545 | 671164.0452 | 199501.6637 | 1120769.2539 | -91334.1229 | -22833.5307 | 1006601.6003 | 8981% | 0 | 1006601.6003 | -18842.0659 | 987759.5344 | -158041.5255 | 829718.0089 | -314034.4317 | -332876.4976 | 3.2596e-09 | 3.0239 | -350000 | 498560.0748 | 165683.5772 | 8973278.1126 | 7902% | 2416% | 1578%
11 | 243850.9564 | 654384.944 | 184788.416 | 1083024.3164 | -94074.1466 | -23518.5366 | 965431.6332 | 8914% | 0 | 965431.6332 | 0 | 965431.6332 | -154469.0613 | 810962.5719 | 0 | 0 | 0 |  | 0 | 810962.5719 | 810962.5719 | 9784240.6845 | 7723% | 2317% | 7723%
12 | 237754.6825 | 638025.3204 | 170686.1422 | 1046466.1451 | -96896.371 | -24224.0927 | 925345.6814 | 8843% | 0 | 925345.6814 | 0 | 925345.6814 | -148055.309 | 777290.3724 | 0 | 0 | 0 |  | 0 | 777290.3724 | 777290.3724 | 10561531.0568 | 7403% | 2221% | 7403%
13 | 231810.8154 | 622074.6874 | 157173.4892 | 1011058.9921 | -99803.2621 | -24950.8155 | 886304.9145 | 8766% | 0 | 886304.9145 | 0 | 886304.9145 | -141808.7863 | 744496.1282 | 0 | 0 | 0 |  | 0 | 744496.1282 | 744496.1282 | 11306027.185 | 7090% | 2127% | 7090%
14 | 226015.545 | 606522.8202 | 144229.7901 | 976768.1554 | -102797.3599 | -25699.34 | 848271.4555 | 8684% | 0 | 848271.4555 | 0 | 848271.4555 | -135723.4329 | 712548.0226 | 0 | 0 | 0 |  | 0 | 712548.0226 | 712548.0226 | 12018575.2076 | 6786% | 2036% | 6786%
15 | 220365.1564 | 591359.7497 | 134764.7101 | 946489.6163 | -105881.2807 | -26470.3202 | 814138.0154 | 8602% | 0 | 814138.0154 | 0 | 814138.0154 | -130262.0825 | 683875.9329 | 0 | 0 | 0 |  | 0 | 683875.9329 | 683875.9329 | 12702451.1405 | 6513% | 1954% | 6513%
C. Mature market (5% share, -40%)
Y1 rev | €1.78M | Y1 EBITDA | €1.69M | EBITDA margin | 95.08% | Equity IRR | 104.23% | MIRR | 22.67% | MOIC | 11.24x | Payback | 0.9 yr | NPV @8% | €6.04M | Avg ROE | 72.72% | Min DSCR | 3.19x | LLCR | 3.47x | PLCR | 4.24x
Year | aFRR capacity (€) | aFRR activation (€) | PZU arbitrage (€) | Total revenue (€) | OPEX (€) | Insurance (€) | EBITDA (€) | EBITDA margin (%) | Depreciation (€) | EBIT (€) | Interest expense (€) | EBT (€) | Tax (€) | Net income (€) | Principal payment (€) | Debt service total (€) | Debt outstanding YE (€) | DSCR | Augmentation (€) | Project FCF (€) | Equity FCF (€) | Cumulative equity FCF (€) | ROE (%) | ROIC (%) | Cash-on-cash yield (%)
1 | 363911 | 1101636 | 313195 | 1778742 | -70000 | -17500 | 1691242 | 9508% | -437500 | 1253742 | -147000 | 1106742 | -177078.72 | 929663.28 | -185876.4976 | -332876.4976 | 2264123.5024 | 5.0807 | 0 | 1514163.28 | 1181286.7824 | 1181286.7824 | 8854% | 3009% | 11250%
2 | 344168.8283 | 1041872.247 | 299257.8225 | 1685298.8978 | -72100 | -18025 | 1595173.8978 | 9465% | -437500 | 1157673.8978 | -135847.4101 | 1021826.4876 | -163492.238 | 858334.2496 | -197029.0875 | -332876.4976 | 2067094.4149 | 4.7921 | 0 | 1431681.6597 | 1098805.1621 | 2280091.9445 | 8175% | 2778% | 10465%
3 | 325186.3207 | 984408.1591 | 282844.447 | 1592438.9269 | -74263 | -18565.75 | 1499610.1769 | 9417% | -437500 | 1062110.1769 | -124025.6649 | 938084.512 | -150093.5219 | 787990.9901 | -208850.8327 | -332876.4976 | 1858243.5821 | 4.505 | 0 | 1349516.655 | 1016640.1573 | 3296732.1018 | 7505% | 2549% | 9682%
4 | 306937.833 | 929166.1055 | 267064.7042 | 1503168.6428 | -76490.89 | -19122.7225 | 1407555.0303 | 9364% | -437500 | 970055.0303 | -111494.6149 | 858560.4153 | -137369.6665 | 721190.7489 | -221381.8827 | -332876.4976 | 1636861.6994 | 4.2285 | 0 | 1270185.3638 | 937308.8662 | 4234040.968 | 6868% | 2328% | 8927%
5 | 292687.1479 | 886026.2506 | 251897.1707 | 1430610.5693 | -78785.6167 | -19696.4042 | 1332128.5484 | 9312% | -437500 | 894628.5484 | -98211.702 | 796416.8465 | -127426.6954 | 668990.151 | -234664.7957 | -332876.4976 | 1402196.9037 | 4.0019 | -350000 | 854701.853 | 521825.3553 | 4755866.3233 | 6371% | 2147% | 4970%
6 | 278957.1609 | 844462.6597 | 237321.0985 | 1360740.9191 | -81149.1852 | -20287.2963 | 1259304.4376 | 9255% | -437500 | 821804.4376 | -84131.8142 | 737672.6234 | -118027.6197 | 619645.0036 | -248744.6834 | -332876.4976 | 1153452.2203 | 3.7831 | 0 | 1141276.8178 | 808400.3202 | 5564266.6435 | 5901% | 1972% | 7699%
7 | 265730.7438 | 804423.4818 | 223316.3941 | 1293470.6198 | -83583.6608 | -20895.9152 | 1188991.0438 | 9192% | -437500 | 751491.0438 | -69207.1332 | 682283.9106 | -109165.4257 | 573118.4849 | -263669.3644 | -332876.4976 | 889782.8559 | 3.5719 | 0 | 1079825.6181 | 746949.1205 | 6311215.764 | 5458% | 1804% | 7114%
8 | 259087.4752 | 784312.8948 | 209863.5993 | 1253263.9693 | -86091.1706 | -21522.7926 | 1145650.0061 | 9141% | -437500 | 708150.0061 | -53386.9714 | 654763.0347 | -104762.0856 | 550000.9492 | -279489.5263 | -332876.4976 | 610293.3296 | 3.4417 | 0 | 1040887.9205 | 708011.4229 | 7019227.1869 | 5238% | 1700% | 6743%
9 | 252610.2883 | 764705.0724 | 196943.8715 | 1214259.2322 | -88673.9057 | -22168.4764 | 1103416.8501 | 9087% | 0 | 1103416.8501 | -36617.5998 | 1066799.2503 | -170687.8801 | 896111.3703 | -296258.8979 | -332876.4976 | 314034.4317 | 3.3148 | 0 | 932728.9701 | 599852.4724 | 7619079.6593 | 8534% | 2648% | 5713%
10 | 246295.0311 | 745587.4456 | 184538.9653 | 1176421.442 | -91334.1229 | -22833.5307 | 1062253.7884 | 9030% | 0 | 1062253.7884 | -18842.0659 | 1043411.7225 | -166945.8756 | 876465.8469 | -314034.4317 | -332876.4976 | 3.2596e-09 | 3.1911 | -350000 | 545307.9128 | 212431.4152 | 7831511.0745 | 8347% | 2549% | 2023%
11 | 240137.6554 | 726947.7595 | 172631.2145 | 1139716.6293 | -94074.1466 | -23518.5366 | 1022123.9461 | 8968% | 0 | 1022123.9461 | 0 | 1022123.9461 | -163539.8314 | 858584.1147 | 0 | 0 | 0 |  | 0 | 858584.1147 | 858584.1147 | 8690095.1893 | 8177% | 2453% | 8177%
12 | 234134.214 | 708774.0655 | 161203.5144 | 1104111.7938 | -96896.371 | -24224.0927 | 982991.3301 | 8903% | 0 | 982991.3301 | 0 | 982991.3301 | -157278.6128 | 825712.7173 | 0 | 0 | 0 |  | 0 | 825712.7173 | 825712.7173 | 9515807.9066 | 7864% | 2359% | 7864%
13 | 228280.8586 | 691054.7138 | 150239.3047 | 1069574.8772 | -99803.2621 | -24950.8155 | 944820.7996 | 8834% | 0 | 944820.7996 | 0 | 944820.7996 | -151171.3279 | 793649.4717 | 0 | 0 | 0 |  | 0 | 793649.4717 | 793649.4717 | 10309457.3783 | 7559% | 2268% | 7559%
14 | 222573.8372 | 673778.346 | 139722.5534 | 1036074.7366 | -102797.3599 | -25699.34 | 907578.0366 | 8760% | 0 | 907578.0366 | 0 | 907578.0366 | -145212.4859 | 762365.5508 | 0 | 0 | 0 |  | 0 | 762365.5508 | 762365.5508 | 11071822.929 | 7261% | 2178% | 7261%
15 | 217009.4912 | 656933.8874 | 129637.7401 | 1003581.1187 | -105881.2807 | -26470.3202 | 871229.5177 | 8681% | 0 | 871229.5177 | 0 | 871229.5177 | -139396.7228 | 731832.7949 | 0 | 0 | 0 |  | 0 | 731832.7949 | 731832.7949 | 11803655.7239 | 6970% | 2091% | 6970%
D. Bear case (2% share, full saturation)
Y1 rev | €1.18M | Y1 EBITDA | €1.09M | EBITDA margin | 92.59% | Equity IRR | 57.21% | MIRR | 18.68% | MOIC | 7.13x | Payback | 1.6 yr | NPV @8% | €3.30M | Avg ROE | 45.16% | Min DSCR | 2.36x | LLCR | 2.43x | PLCR | 3.00x
Year | aFRR capacity (€) | aFRR activation (€) | PZU arbitrage (€) | Total revenue (€) | OPEX (€) | Insurance (€) | EBITDA (€) | EBITDA margin (%) | Depreciation (€) | EBIT (€) | Interest expense (€) | EBT (€) | Tax (€) | Net income (€) | Principal payment (€) | Debt service total (€) | Debt outstanding YE (€) | DSCR | Augmentation (€) | Project FCF (€) | Equity FCF (€) | Cumulative equity FCF (€) | ROE (%) | ROIC (%) | Cash-on-cash yield (%)
1 | 351360 | 621463.8 | 208797 | 1181620.8 | -70000 | -17500 | 1094120.8 | 9259% | -437500 | 656620.8 | -147000 | 509620.8 | -81539.328 | 428081.472 | -185876.4976 | -332876.4976 | 2264123.5024 | 3.2869 | 0 | 1012581.472 | 679704.9744 | 679704.9744 | 4077% | 1576% | 6473%
2 | 342576 | 605927.205 | 197469.7627 | 1145972.9678 | -72100 | -18025 | 1055847.9678 | 9214% | -437500 | 618347.9677 | -135847.4101 | 482500.5576 | -77200.0892 | 405300.4684 | -197029.0875 | -332876.4976 | 2067094.4149 | 3.1719 | 0 | 978647.8785 | 645771.3809 | 1325476.3553 | 3860% | 1484% | 6150%
3 | 334011.6 | 590779.0249 | 186578.3892 | 1111369.0141 | -74263 | -18565.75 | 1018540.2641 | 9165% | -437500 | 581040.2641 | -124025.6649 | 457014.5992 | -73122.3359 | 383892.2633 | -208850.8327 | -332876.4976 | 1858243.5821 | 3.0598 | 0 | 945417.9282 | 612541.4306 | 1938017.7859 | 3656% | 1394% | 5834%
4 | 325661.31 | 576009.5493 | 176108.1658 | 1077779.0251 | -76490.89 | -19122.7225 | 982165.4126 | 9113% | -437500 | 544665.4126 | -111494.6149 | 433170.7976 | -69307.3276 | 363863.47 | -221381.8827 | -332876.4976 | 1636861.6994 | 2.9505 | 0 | 912858.0849 | 579981.5873 | 2517999.3731 | 3465% | 1307% | 5524%
5 | 317519.7772 | 561609.3105 | 166044.842 | 1045173.9298 | -78785.6167 | -19696.4042 | 946691.9089 | 9058% | -437500 | 509191.9089 | -98211.702 | 410980.207 | -65756.8331 | 345223.3739 | -234664.7957 | -332876.4976 | 1402196.9037 | 2.844 | -350000 | 530935.0758 | 198058.5782 | 2716057.9513 | 3288% | 1222% | 1886%
6 | 309581.7828 | 547569.0778 | 156374.6169 | 1013525.4774 | -81149.1852 | -20287.2963 | 912088.9959 | 8999% | -437500 | 474588.9959 | -84131.8142 | 390457.1817 | -62473.1491 | 327984.0326 | -248744.6834 | -332876.4976 | 1153452.2203 | 2.74 | 0 | 849615.8469 | 516739.3492 | 3232797.3005 | 3124% | 1139% | 4921%
7 | 301842.2382 | 533879.8508 | 147084.1249 | 982806.214 | -83583.6608 | -20895.9152 | 878326.638 | 8937% | -437500 | 440826.638 | -69207.1332 | 371619.5048 | -59459.1208 | 312160.384 | -263669.3644 | -332876.4976 | 889782.8559 | 2.6386 | 0 | 818867.5173 | 485991.0196 | 3718788.3202 | 2973% | 1058% | 4628%
8 | 294296.1823 | 520532.8545 | 139909.2896 | 954738.3264 | -86091.1706 | -21522.7926 | 847124.3632 | 8873% | -437500 | 409624.3632 | -53386.9714 | 356237.3918 | -56997.9827 | 299239.4091 | -279489.5263 | -332876.4976 | 610293.3296 | 2.5449 | 0 | 790126.3805 | 457249.8828 | 4176038.203 | 2850% | 983.1% | 4355%
9 | 286938.7777 | 507519.5332 | 133001.2684 | 927459.5793 | -88673.9057 | -22168.4764 | 816617.1972 | 8805% | 0 | 816617.1972 | -36617.5998 | 779999.5974 | -124799.9356 | 655199.6618 | -296258.8979 | -332876.4976 | 314034.4317 | 2.4532 | 0 | 691817.2616 | 358940.764 | 4534978.967 | 6240% | 1960% | 3418%
10 | 279765.3083 | 494831.5449 | 126351.205 | 900948.0581 | -91334.1229 | -22833.5307 | 786780.4045 | 8733% | 0 | 786780.4045 | -18842.0659 | 767938.3386 | -122870.1342 | 645068.2044 | -314034.4317 | -332876.4976 | 3.2596e-09 | 2.3636 | -350000 | 313910.2703 | -18966.2273 | 4516012.7397 | 6144% | 1888% | -180.6%
11 | 272771.1756 | 482460.7562 | 119950.5189 | 875182.4507 | -94074.1466 | -23518.5366 | 757589.7675 | 8656% | 0 | 757589.7675 | 0 | 757589.7675 | -121214.3628 | 636375.4047 | 0 | 0 | 0 |  | 0 | 636375.4047 | 636375.4047 | 5152388.1444 | 6061% | 1818% | 6061%
12 | 265951.8962 | 470399.2373 | 113790.8977 | 850142.0312 | -96896.371 | -24224.0927 | 729021.5675 | 8575% | 0 | 729021.5675 | 0 | 729021.5675 | -116643.4508 | 612378.1167 | 0 | 0 | 0 |  | 0 | 612378.1167 | 612378.1167 | 5764766.2611 | 5832% | 1750% | 5832%
13 | 259303.0988 | 458639.2564 | 107864.2884 | 825806.6436 | -99803.2621 | -24950.8155 | 701052.566 | 8489% | 0 | 701052.566 | 0 | 701052.566 | -112168.4106 | 588884.1554 | 0 | 0 | 0 |  | 0 | 588884.1554 | 588884.1554 | 6353650.4166 | 5608% | 1683% | 5608%
14 | 252820.5213 | 447173.275 | 102162.8903 | 802156.6866 | -102797.3599 | -25699.34 | 673659.9867 | 8398% | 0 | 673659.9867 | 0 | 673659.9867 | -107785.5979 | 565874.3888 | 0 | 0 | 0 |  | 0 | 565874.3888 | 565874.3888 | 6919524.8054 | 5389% | 1617% | 5389%
15 | 246500.0083 | 435993.9431 | 96679.1469 | 779173.0983 | -105881.2807 | -26470.3202 | 646821.4974 | 8301% | 0 | 646821.4974 | 0 | 646821.4974 | -103491.4396 | 543330.0578 | 0 | 0 | 0 |  | 0 | 543330.0578 | 543330.0578 | 7462854.8632 | 5175% | 1552% | 5175%

## 4. Cashflow (Realistic)
BESS 15-year Cashflow — Realistic — operator drag + tax + depreciation applied
A. Current (10% share, pre-PICASSO)
Y1 rev | €1.07M | Y1 EBITDA | €986k | EBITDA margin | 91.85% | Equity IRR | 33.31% | MIRR | 11.80% | MOIC | 3.32x | Payback | 1.8 yr | NPV @8% | €953k | Avg ROE | 16.87% | Min DSCR | 1.11x | LLCR | 1.65x | PLCR | 1.89x
Year | aFRR capacity (€) | aFRR activation (€) | PZU arbitrage (€) | Total revenue (€) | OPEX (€) | Insurance (€) | EBITDA (€) | EBITDA margin (%) | Depreciation (€) | EBIT (€) | Interest expense (€) | EBT (€) | Tax (€) | Net income (€) | Principal payment (€) | Debt service total (€) | Debt outstanding YE (€) | DSCR | Augmentation (€) | Project FCF (€) | Equity FCF (€) | Cumulative equity FCF (€) | ROE (%) | ROIC (%) | Cash-on-cash yield (%)
1 | 337590 | 401391.15 | 334074.8 | 1073055.95 | -70000 | -17500 | 985555.95 | 9185% | -437500 | 548055.95 | -147000 | 401055.95 | -64168.952 | 336886.998 | -185876.4976 | -332876.4976 | 2264123.5024 | 2.9607 | 0 | 921386.998 | 588510.5004 | 588510.5004 | 3208% | 1315% | 5605%
2 | 329150.25 | 391356.3713 | 315951.2421 | 1036457.8633 | -72100 | -18025 | 946332.8634 | 9130% | -437500 | 508832.8634 | -135847.4101 | 372985.4532 | -59677.6725 | 313307.7807 | -197029.0875 | -332876.4976 | 2067094.4149 | 2.8429 | 0 | 886655.1908 | 553778.6932 | 1142289.1936 | 2984% | 1221% | 5274%
3 | 240691.1203 | 286179.3465 | 292173.4682 | 819043.935 | -74263 | -18565.75 | 726215.185 | 8867% | -437500 | 288715.185 | -124025.6649 | 164689.5201 | -26350.3232 | 138339.1969 | -208850.8327 | -332876.4976 | 1858243.5821 | 2.1816 | 0 | 699864.8618 | 366988.3641 | 1509277.5577 | 1318% | 692.9% | 3495%
4 | 215899.9349 | 260423.2053 | 269387.1135 | 745710.2537 | -76490.89 | -19122.7225 | 650096.6412 | 8718% | -437500 | 212596.6412 | -111494.6149 | 101102.0263 | -16176.3242 | 84925.7021 | -221381.8827 | -332876.4976 | 1636861.6994 | 1.953 | 0 | 633920.317 | 301043.8194 | 1810321.3771 | 808.8% | 510.2% | 2867%
5 | 192197.8768 | 239403.3323 | 247557.4681 | 679158.6772 | -78785.6167 | -19696.4042 | 580676.6564 | 8550% | -437500 | 143176.6564 | -98211.702 | 44964.9544 | -7194.3927 | 37770.5617 | -234664.7957 | -332876.4976 | 1402196.9037 | 1.7444 | -350000 | 223482.2637 | -109394.234 | 1700927.1431 | 359.7% | 343.6% | -1042%
6 | 172520.4752 | 219271.6884 | 226650.938 | 618443.1016 | -81149.1852 | -20287.2963 | 517006.6201 | 8360% | -437500 | 79506.6201 | -84131.8142 | -4625.1941 | 0 | -4625.1941 | -248744.6834 | -332876.4976 | 1153452.2203 | 1.5531 | 0 | 517006.6201 | 184130.1225 | 1885057.2655 | -44.05% | 190.8% | 1754%
7 | 159507.0773 | 199996.9997 | 206635.011 | 566139.088 | -83583.6608 | -20895.9152 | 461659.512 | 8155% | -437500 | 24159.512 | -69207.1332 | -45047.6212 | 0 | -45047.6212 | -263669.3644 | -332876.4976 | 889782.8559 | 1.3869 | 0 | 461659.512 | 128783.0144 | 2013840.2799 | -429% | 57.98% | 1227%
8 | 155519.4003 | 184911.0191 | 190276.406 | 530706.8254 | -86091.1706 | -21522.7926 | 423092.8622 | 7972% | -437500 | -14407.1378 | -53386.9714 | -67794.1092 | 0 | -67794.1092 | -279489.5263 | -332876.4976 | 610293.3296 | 1.271 | 0 | 423092.8622 | 90216.3646 | 2104056.6445 | -645.7% | -34.58% | 859.2%
9 | 151631.4153 | 180288.2436 | 174606.5843 | 506526.2433 | -88673.9057 | -22168.4764 | 395683.8611 | 7812% | 0 | 395683.8611 | -36617.5998 | 359066.2614 | -57450.6018 | 301615.6596 | -296258.8979 | -332876.4976 | 314034.4317 | 1.1887 | 0 | 338233.2593 | 5356.7617 | 2109413.4062 | 2873% | 949.6% | 51.02%
10 | 147840.6299 | 175781.0376 | 159601.331 | 483222.9985 | -91334.1229 | -22833.5307 | 369055.3449 | 7637% | 0 | 369055.3449 | -18842.0659 | 350213.279 | -56034.1246 | 294179.1543 | -314034.4317 | -332876.4976 | 3.2596e-09 | 1.1087 | -350000 | -36978.7798 | -369855.2774 | 1739558.1288 | 2802% | 885.7% | -3522%
11 | 144144.6142 | 171386.5116 | 147830.7328 | 463361.8586 | -94074.1466 | -23518.5366 | 345769.1754 | 7462% | 0 | 345769.1754 | 0 | 345769.1754 | -55323.0681 | 290446.1073 | 0 | 0 | 0 |  | 0 | 290446.1073 | 290446.1073 | 2030004.2361 | 2766% | 829.8% | 2766%
12 | 140540.9988 | 167101.8488 | 136548.9137 | 444191.7614 | -96896.371 | -24224.0927 | 323071.2977 | 7273% | 0 | 323071.2977 | 0 | 323071.2977 | -51691.4076 | 271379.8901 | 0 | 0 | 0 |  | 0 | 271379.8901 | 271379.8901 | 2301384.1262 | 2585% | 775.4% | 2585%
13 | 137027.4739 | 162924.3026 | 125738.7914 | 425690.5679 | -99803.2621 | -24950.8155 | 300936.4903 | 7069% | 0 | 300936.4903 | 0 | 300936.4903 | -48149.8384 | 252786.6518 | 0 | 0 | 0 |  | 0 | 252786.6518 | 252786.6518 | 2554170.778 | 2407% | 722.2% | 2407%
14 | 133601.787 | 158851.195 | 115383.8321 | 407836.8141 | -102797.3599 | -25699.34 | 279340.1142 | 6849% | 0 | 279340.1142 | 0 | 279340.1142 | -44694.4183 | 234645.6959 | 0 | 0 | 0 |  | 0 | 234645.6959 | 234645.6959 | 2788816.4739 | 2235% | 670.4% | 2235%
15 | 130261.7423 | 154879.9152 | 107811.7681 | 392953.4256 | -105881.2807 | -26470.3202 | 260601.8247 | 6632% | 0 | 260601.8247 | 0 | 260601.8247 | -41696.292 | 218905.5327 | 0 | 0 | 0 |  | 0 | 218905.5327 | 218905.5327 | 3007722.0067 | 2085% | 625.4% | 2085%
B. PICASSO go-live (Y1) (10% share)
Y1 rev | €1.05M | Y1 EBITDA | €965k | EBITDA margin | 91.69% | Equity IRR | 39.89% | MIRR | 13.88% | MOIC | 4.14x | Payback | 1.9 yr | NPV @8% | €1.51M | Avg ROE | 23.40% | Min DSCR | 1.34x | LLCR | 1.85x | PLCR | 2.15x
Year | aFRR capacity (€) | aFRR activation (€) | PZU arbitrage (€) | Total revenue (€) | OPEX (€) | Insurance (€) | EBITDA (€) | EBITDA margin (%) | Depreciation (€) | EBIT (€) | Interest expense (€) | EBT (€) | Tax (€) | Net income (€) | Principal payment (€) | Debt service total (€) | Debt outstanding YE (€) | DSCR | Augmentation (€) | Project FCF (€) | Equity FCF (€) | Cumulative equity FCF (€) | ROE (%) | ROIC (%) | Cash-on-cash yield (%)
1 | 417314.25 | 301043.4 | 334074.8 | 1052432.45 | -70000 | -17500 | 964932.45 | 9169% | -437500 | 527432.45 | -147000 | 380432.45 | -60869.192 | 319563.258 | -185876.4976 | -332876.4976 | 2264123.5024 | 2.8988 | 0 | 904063.258 | 571186.7604 | 571186.7604 | 3043% | 1266% | 5440%
2 | 406881.3937 | 293517.315 | 315951.2421 | 1016349.9509 | -72100 | -18025 | 926224.9509 | 9113% | -437500 | 488724.9509 | -135847.4101 | 352877.5407 | -56460.4065 | 296417.1342 | -197029.0875 | -332876.4976 | 2067094.4149 | 2.7825 | 0 | 869764.5443 | 536888.0467 | 1108074.8071 | 2823% | 1173% | 5113%
3 | 376873.891 | 271870.413 | 292173.4682 | 940917.7722 | -74263 | -18565.75 | 848089.0222 | 9013% | -437500 | 410589.0222 | -124025.6649 | 286563.3573 | -45850.1372 | 240713.2201 | -208850.8327 | -332876.4976 | 1858243.5821 | 2.5478 | 0 | 802238.885 | 469362.3874 | 1577437.1944 | 2293% | 985.4% | 4470%
4 | 348112.4624 | 251122.4078 | 269387.1135 | 868621.9837 | -76490.89 | -19122.7225 | 773008.3712 | 8899% | -437500 | 335508.3712 | -111494.6149 | 224013.7563 | -35842.201 | 188171.5553 | -221381.8827 | -332876.4976 | 1636861.6994 | 2.3222 | 0 | 737166.1702 | 404289.6726 | 1981726.867 | 1792% | 805.2% | 3850%
5 | 324324.7775 | 233962.3766 | 247557.4681 | 805844.6222 | -78785.6167 | -19696.4042 | 707362.6013 | 8778% | -437500 | 269862.6013 | -98211.702 | 171650.8994 | -27464.1439 | 144186.7555 | -234664.7957 | -332876.4976 | 1402196.9037 | 2.125 | -350000 | 329898.4574 | -2978.0402 | 1978748.8268 | 1373% | 647.7% | -28.36%
6 | 301508.9065 | 217503.3955 | 226650.938 | 745663.24 | -81149.1852 | -20287.2963 | 644226.7585 | 8640% | -437500 | 206726.7585 | -84131.8142 | 122594.9443 | -19615.1911 | 102979.7532 | -248744.6834 | -332876.4976 | 1153452.2203 | 1.9353 | 0 | 624611.5674 | 291735.0698 | 2270483.8966 | 980.8% | 496.1% | 2778%
7 | 279631.1261 | 201721.1369 | 206635.011 | 687987.274 | -83583.6608 | -20895.9152 | 583507.6981 | 8481% | -437500 | 146007.6981 | -69207.1332 | 76800.5649 | -12288.0904 | 64512.4745 | -263669.3644 | -332876.4976 | 889782.8559 | 1.7529 | 0 | 571219.6077 | 238343.1101 | 2508827.0067 | 614.4% | 350.4% | 2270%
8 | 258658.7917 | 186592.0516 | 190276.406 | 635527.2493 | -86091.1706 | -21522.7926 | 527913.286 | 8307% | -437500 | 90413.286 | -53386.9714 | 37026.3147 | -5924.2103 | 31102.1043 | -279489.5263 | -332876.4976 | 610293.3296 | 1.5859 | 0 | 521989.0757 | 189112.578 | 2697939.5847 | 296.2% | 217% | 1801%
9 | 241968.3088 | 174551.8213 | 174606.5843 | 591126.7144 | -88673.9057 | -22168.4764 | 480284.3323 | 8125% | 0 | 480284.3323 | -36617.5998 | 443666.7325 | -70986.6772 | 372680.0553 | -296258.8979 | -332876.4976 | 314034.4317 | 1.4428 | 0 | 409297.6551 | 76421.1574 | 2774360.7421 | 3549% | 1153% | 727.8%
10 | 232596.2969 | 167791.0113 | 159601.331 | 559988.6391 | -91334.1229 | -22833.5307 | 445820.9855 | 7961% | 0 | 445820.9855 | -18842.0659 | 426978.9196 | -68316.6271 | 358662.2925 | -314034.4317 | -332876.4976 | 3.2596e-09 | 1.3393 | -350000 | 27504.3584 | -305372.1392 | 2468988.6029 | 3416% | 1070% | -2908%
11 | 226781.3894 | 163596.236 | 147830.7328 | 538208.3583 | -94074.1466 | -23518.5366 | 420615.6751 | 7815% | 0 | 420615.6751 | 0 | 420615.6751 | -67298.508 | 353317.1671 | 0 | 0 | 0 |  | 0 | 353317.1671 | 353317.1671 | 2822305.7699 | 3365% | 1009% | 3365%
12 | 221111.8547 | 159506.3301 | 136548.9137 | 517167.0985 | -96896.371 | -24224.0927 | 396046.6348 | 7658% | 0 | 396046.6348 | 0 | 396046.6348 | -63367.4616 | 332679.1733 | 0 | 0 | 0 |  | 0 | 332679.1733 | 332679.1733 | 3154984.9432 | 3168% | 950.5% | 3168%
13 | 215584.0583 | 155518.6719 | 125738.7914 | 496841.5216 | -99803.2621 | -24950.8155 | 372087.444 | 7489% | 0 | 372087.444 | 0 | 372087.444 | -59533.991 | 312553.4529 | 0 | 0 | 0 |  | 0 | 312553.4529 | 312553.4529 | 3467538.3962 | 2977% | 893% | 2977%
14 | 210194.4569 | 151630.7051 | 115383.8321 | 477208.994 | -102797.3599 | -25699.34 | 348712.2941 | 7307% | 0 | 348712.2941 | 0 | 348712.2941 | -55793.9671 | 292918.327 | 0 | 0 | 0 |  | 0 | 292918.327 | 292918.327 | 3760456.7232 | 2790% | 836.9% | 2790%
15 | 204939.5955 | 147839.9374 | 107811.7681 | 460591.301 | -105881.2807 | -26470.3202 | 328239.7001 | 7126% | 0 | 328239.7001 | 0 | 328239.7001 | -52518.352 | 275721.3481 | 0 | 0 | 0 |  | 0 | 275721.3481 | 275721.3481 | 4036178.0713 | 2626% | 787.8% | 2626%
C. Mature market (5% share, -40%)
Y1 rev | €864k | Y1 EBITDA | €777k | EBITDA margin | 89.88% | Equity IRR | 23.95% | MIRR | 11.72% | MOIC | 3.47x | Payback | 2.8 yr | NPV @8% | €889k | Avg ROE | 18.39% | Min DSCR | 1.35x | LLCR | 1.58x | PLCR | 1.88x
Year | aFRR capacity (€) | aFRR activation (€) | PZU arbitrage (€) | Total revenue (€) | OPEX (€) | Insurance (€) | EBITDA (€) | EBITDA margin (%) | Depreciation (€) | EBIT (€) | Interest expense (€) | EBT (€) | Tax (€) | Net income (€) | Principal payment (€) | Debt service total (€) | Debt outstanding YE (€) | DSCR | Augmentation (€) | Project FCF (€) | Equity FCF (€) | Cumulative equity FCF (€) | ROE (%) | ROIC (%) | Cash-on-cash yield (%)
1 | 338437.23 | 275409 | 250556 | 864402.23 | -70000 | -17500 | 776902.23 | 8988% | -437500 | 339402.23 | -147000 | 192402.23 | -30784.3568 | 161617.8732 | -185876.4976 | -332876.4976 | 2264123.5024 | 2.3339 | 0 | 746117.8732 | 413241.3756 | 413241.3756 | 1539% | 814.6% | 3936%
2 | 320077.0103 | 260468.0617 | 239406.258 | 819951.33 | -72100 | -18025 | 729826.33 | 8901% | -437500 | 292326.33 | -135847.4101 | 156478.9199 | -25036.6272 | 131442.2927 | -197029.0875 | -332876.4976 | 2067094.4149 | 2.1925 | 0 | 704789.7028 | 371913.2052 | 785154.5808 | 1252% | 701.6% | 3542%
3 | 302423.2783 | 246102.0398 | 226275.5576 | 774800.8757 | -74263 | -18565.75 | 681972.1257 | 8802% | -437500 | 244472.1257 | -124025.6649 | 120446.4608 | -19271.4337 | 101175.0271 | -208850.8327 | -332876.4976 | 1858243.5821 | 2.0487 | 0 | 662700.6919 | 329824.1943 | 1114978.7751 | 963.6% | 586.7% | 3141%
4 | 285452.1847 | 232291.5264 | 213651.7634 | 731395.4745 | -76490.89 | -19122.7225 | 635781.862 | 8693% | -437500 | 198281.862 | -111494.6149 | 86787.247 | -13885.9595 | 72901.2875 | -221381.8827 | -332876.4976 | 1636861.6994 | 1.91 | 0 | 621895.9024 | 289019.4048 | 1403998.1799 | 694.3% | 475.9% | 2753%
5 | 272199.0476 | 221506.5627 | 201517.7366 | 695223.3468 | -78785.6167 | -19696.4042 | 596741.3259 | 8583% | -437500 | 159241.3259 | -98211.702 | 61029.624 | -9764.7398 | 51264.8841 | -234664.7957 | -332876.4976 | 1402196.9037 | 1.7927 | -350000 | 236976.5861 | -95899.9115 | 1308098.2683 | 488.2% | 382.2% | -913.3%
6 | 259430.1597 | 211115.6649 | 189856.8788 | 660402.7034 | -81149.1852 | -20287.2963 | 558966.2219 | 8464% | -437500 | 121466.2219 | -84131.8142 | 37334.4076 | -5973.5052 | 31360.9024 | -248744.6834 | -332876.4976 | 1153452.2203 | 1.6792 | 0 | 552992.7166 | 220116.219 | 1528214.4873 | 298.7% | 291.5% | 2096%
7 | 247129.5918 | 201105.8705 | 178653.1153 | 626888.5775 | -83583.6608 | -20895.9152 | 522409.0016 | 8333% | -437500 | 84909.0016 | -69207.1332 | 15701.8683 | -2512.2989 | 13189.5694 | -263669.3644 | -332876.4976 | 889782.8559 | 1.5694 | 0 | 519896.7026 | 187020.205 | 1715234.6923 | 125.6% | 203.8% | 1781%
8 | 240951.352 | 196078.2237 | 167890.8794 | 604920.4551 | -86091.1706 | -21522.7926 | 497306.4919 | 8221% | -437500 | 59806.4919 | -53386.9714 | 6419.5205 | -1027.1233 | 5392.3972 | -279489.5263 | -332876.4976 | 610293.3296 | 1.494 | 0 | 496279.3686 | 163402.871 | 1878637.5633 | 51.36% | 143.5% | 1556%
9 | 234927.5682 | 191176.2681 | 157555.0972 | 583658.9334 | -88673.9057 | -22168.4764 | 472816.5513 | 8101% | 0 | 472816.5513 | -36617.5998 | 436198.9515 | -69791.8322 | 366407.1193 | -296258.8979 | -332876.4976 | 314034.4317 | 1.4204 | 0 | 403024.7191 | 70148.2214 | 1948785.7847 | 3490% | 1135% | 668.1%
10 | 229054.379 | 186396.8614 | 147631.1722 | 563082.4126 | -91334.1229 | -22833.5307 | 448914.759 | 7972% | 0 | 448914.759 | -18842.0659 | 430072.6931 | -68811.6309 | 361261.0622 | -314034.4317 | -332876.4976 | 3.2596e-09 | 1.3486 | -350000 | 30103.1281 | -302773.3695 | 1646012.4152 | 3441% | 1077% | -2884%
11 | 223328.0195 | 181736.9399 | 138104.9716 | 543169.9309 | -94074.1466 | -23518.5366 | 425577.2477 | 7835% | 0 | 425577.2477 | 0 | 425577.2477 | -68092.3596 | 357484.8881 | 0 | 0 | 0 |  | 0 | 357484.8881 | 357484.8881 | 2003497.3033 | 3405% | 1021% | 3405%
12 | 217744.819 | 177193.5164 | 128962.8115 | 523901.1469 | -96896.371 | -24224.0927 | 402780.6832 | 7688% | 0 | 402780.6832 | 0 | 402780.6832 | -64444.9093 | 338335.7739 | 0 | 0 | 0 |  | 0 | 338335.7739 | 338335.7739 | 2341833.0771 | 3222% | 966.7% | 3222%
13 | 212301.1985 | 172763.6785 | 120191.4438 | 505256.3208 | -99803.2621 | -24950.8155 | 380502.2432 | 7531% | 0 | 380502.2432 | 0 | 380502.2432 | -60880.3589 | 319621.8843 | 0 | 0 | 0 |  | 0 | 319621.8843 | 319621.8843 | 2661454.9614 | 3044% | 913.2% | 3044%
14 | 206993.6686 | 168444.5865 | 111778.0427 | 487216.2978 | -102797.3599 | -25699.34 | 358719.5979 | 7363% | 0 | 358719.5979 | 0 | 358719.5979 | -57395.1357 | 301324.4622 | 0 | 0 | 0 |  | 0 | 301324.4622 | 301324.4622 | 2962779.4236 | 2870% | 860.9% | 2870%
15 | 201818.8268 | 164233.4718 | 103710.1921 | 469762.4907 | -105881.2807 | -26470.3202 | 337410.8898 | 7183% | 0 | 337410.8898 | 0 | 337410.8898 | -53985.7424 | 283425.1475 | 0 | 0 | 0 |  | 0 | 283425.1475 | 283425.1475 | 3246204.5711 | 2699% | 809.8% | 2699%
D. Bear case (2% share, full saturation)
Y1 rev | €649k | Y1 EBITDA | €562k | EBITDA margin | 86.52% | Equity IRR | 7.21% | MIRR | 7.48% | MOIC | 2.28x | Payback | 12.0 yr | NPV @8% | €-50k | Avg ROE | 9.29% | Min DSCR | 1.11x | LLCR | 1.21x | PLCR | 1.46x
Year | aFRR capacity (€) | aFRR activation (€) | PZU arbitrage (€) | Total revenue (€) | OPEX (€) | Insurance (€) | EBITDA (€) | EBITDA margin (%) | Depreciation (€) | EBIT (€) | Interest expense (€) | EBT (€) | Tax (€) | Net income (€) | Principal payment (€) | Debt service total (€) | Debt outstanding YE (€) | DSCR | Augmentation (€) | Project FCF (€) | Equity FCF (€) | Cumulative equity FCF (€) | ROE (%) | ROIC (%) | Cash-on-cash yield (%)
1 | 326764.8 | 155365.95 | 167037.6 | 649168.35 | -70000 | -17500 | 561668.35 | 8652% | -437500 | 124168.35 | -147000 | -22831.65 | 0 | -22831.65 | -185876.4976 | -332876.4976 | 2264123.5024 | 1.6873 | 0 | 561668.35 | 228791.8524 | 228791.8524 | -217.4% | 298% | 2179%
2 | 318595.68 | 151481.8012 | 157975.8102 | 628053.2914 | -72100 | -18025 | 537928.2914 | 8565% | -437500 | 100428.2914 | -135847.4101 | -35419.1187 | 0 | -35419.1187 | -197029.0875 | -332876.4976 | 2067094.4149 | 1.616 | 0 | 537928.2914 | 205051.7938 | 433843.6462 | -337.3% | 241% | 1953%
3 | 310630.788 | 147694.7562 | 149262.7114 | 607588.2556 | -74263 | -18565.75 | 514759.5056 | 8472% | -437500 | 77259.5056 | -124025.6649 | -46766.1593 | 0 | -46766.1593 | -208850.8327 | -332876.4976 | 1858243.5821 | 1.5464 | 0 | 514759.5056 | 181883.008 | 615726.6541 | -445.4% | 185.4% | 1732%
4 | 302865.0183 | 144002.3873 | 140886.5326 | 587753.9383 | -76490.89 | -19122.7225 | 492140.3258 | 8373% | -437500 | 54640.3258 | -111494.6149 | -56854.2892 | 0 | -56854.2892 | -221381.8827 | -332876.4976 | 1636861.6994 | 1.4784 | 0 | 492140.3258 | 159263.8281 | 774990.4823 | -541.5% | 131.1% | 1517%
5 | 295293.3928 | 140402.3276 | 132835.8736 | 568531.5941 | -78785.6167 | -19696.4042 | 470049.5732 | 8268% | -437500 | 32549.5732 | -98211.702 | -65662.1287 | 0 | -65662.1287 | -234664.7957 | -332876.4976 | 1402196.9037 | 1.4121 | -350000 | 120049.5732 | -212826.9244 | 562163.5578 | -625.4% | 78.12% | -2027%
6 | 287911.058 | 136892.2694 | 125099.6935 | 549903.021 | -81149.1852 | -20287.2963 | 448466.5395 | 8155% | -437500 | 10966.5395 | -84131.8142 | -73165.2748 | 0 | -73165.2748 | -248744.6834 | -332876.4976 | 1153452.2203 | 1.3472 | 0 | 448466.5395 | 115590.0418 | 677753.5997 | -696.8% | 26.32% | 1101%
7 | 280713.2816 | 133469.9627 | 117667.2999 | 531850.5442 | -83583.6608 | -20895.9152 | 427370.9683 | 8036% | -437500 | -10129.0317 | -69207.1332 | -79336.165 | 0 | -79336.165 | -263669.3644 | -332876.4976 | 889782.8559 | 1.2839 | 0 | 427370.9683 | 94494.4706 | 772248.0703 | -755.6% | -24.31% | 899.9%
8 | 273695.4495 | 130133.2136 | 111927.4316 | 515756.0948 | -86091.1706 | -21522.7926 | 408142.1316 | 7913% | -437500 | -29357.8684 | -53386.9714 | -82744.8398 | 0 | -82744.8398 | -279489.5263 | -332876.4976 | 610293.3296 | 1.2261 | 0 | 408142.1316 | 75265.6339 | 847513.7042 | -788% | -70.46% | 716.8%
9 | 266853.0633 | 126879.8833 | 106401.0147 | 500133.9613 | -88673.9057 | -22168.4764 | 389291.5792 | 7784% | 0 | 389291.5792 | -36617.5998 | 352673.9794 | -56427.8367 | 296246.1427 | -296258.8979 | -332876.4976 | 314034.4317 | 1.1695 | 0 | 332863.7425 | -12.7552 | 847500.9491 | 2821% | 934.3% | -0.1215%
10 | 260181.7367 | 123707.8862 | 101080.964 | 484970.5869 | -91334.1229 | -22833.5307 | 370802.9333 | 7646% | 0 | 370802.9333 | -18842.0659 | 351960.8674 | -56313.7388 | 295647.1286 | -314034.4317 | -332876.4976 | 3.2596e-09 | 1.1139 | -350000 | -35510.8055 | -368387.3031 | 479113.6459 | 2816% | 889.9% | -3508%
11 | 253677.1933 | 120615.1891 | 95960.4151 | 470252.7975 | -94074.1466 | -23518.5366 | 352660.1143 | 7499% | 0 | 352660.1143 | 0 | 352660.1143 | -56425.6183 | 296234.496 | 0 | 0 | 0 |  | 0 | 296234.496 | 296234.496 | 775348.142 | 2821% | 846.4% | 2821%
12 | 247335.2635 | 117599.8093 | 91032.7181 | 455967.7909 | -96896.371 | -24224.0927 | 334847.3273 | 7344% | 0 | 334847.3273 | 0 | 334847.3273 | -53575.5724 | 281271.7549 | 0 | 0 | 0 |  | 0 | 281271.7549 | 281271.7549 | 1056619.8968 | 2679% | 803.6% | 2679%
13 | 241151.8819 | 114659.8141 | 86291.4307 | 442103.1267 | -99803.2621 | -24950.8155 | 317349.0491 | 7178% | 0 | 317349.0491 | 0 | 317349.0491 | -50775.8479 | 266573.2013 | 0 | 0 | 0 |  | 0 | 266573.2013 | 266573.2013 | 1323193.0981 | 2539% | 761.6% | 2539%
14 | 235123.0848 | 111793.3187 | 81730.3123 | 428646.7158 | -102797.3599 | -25699.34 | 300150.0159 | 7002% | 0 | 300150.0159 | 0 | 300150.0159 | -48024.0025 | 252126.0134 | 0 | 0 | 0 |  | 0 | 252126.0134 | 252126.0134 | 1575319.1115 | 2401% | 720.4% | 2401%
15 | 229245.0077 | 108998.4858 | 77343.3176 | 415586.811 | -105881.2807 | -26470.3202 | 283235.2101 | 6815% | 0 | 283235.2101 | 0 | 283235.2101 | -45317.6336 | 237917.5765 | 0 | 0 | 0 |  | 0 | 237917.5765 | 237917.5765 | 1813236.688 | 2266% | 679.8% | 2266%

## 5. Returns Matrix
Returns & Coverage Matrix — every metric, every scenario, modeled vs realistic
KPI | A — Model | A — Real | B — Model | B — Real | C — Model | C — Real | D — Model | D — Real
PROFITABILITY (Y1)
Y1 revenue | €2.39M | €1.07M | €2.07M | €1.05M | €1.78M | €864k | €1.18M | €649k
Y1 EBITDA | €2.30M | €986k | €1.98M | €965k | €1.69M | €777k | €1.09M | €562k
Y1 EBITDA margin | 96.33% | 91.85% | 95.77% | 91.69% | 95.08% | 89.88% | 92.59% | 86.52%
Y1 EBIT | €1.86M | €548k | €1.55M | €527k | €1.25M | €339k | €657k | €124k
Y1 Net Income | €1.44M | €337k | €1.17M | €320k | €930k | €162k | €428k | €-23k
Y1 Equity FCF | €1.69M | €589k | €1.43M | €571k | €1.18M | €413k | €680k | €229k
Y1 DSCR | 6.91x | 2.96x | 5.96x | 2.90x | 5.08x | 2.33x | 3.29x | 1.69x
LIFETIME (15-yr cumulative)
Lifetime revenue | €20.23M | €9.19M | €20.71M | €10.39M | €19.64M | €9.45M | €14.47M | €7.84M
Lifetime EBITDA | €18.60M | €7.57M | €19.08M | €8.77M | €18.01M | €7.83M | €12.85M | €6.21M
Lifetime Net Income | €11.95M | €2.66M | €12.35M | €3.69M | €11.45M | €2.90M | €7.11M | €1.46M
Lifetime Equity FCF | €12.30M | €3.01M | €12.70M | €4.04M | €11.80M | €3.25M | €7.46M | €1.81M
Lifetime Project FCF | €15.62M | €6.34M | €16.03M | €7.36M | €15.13M | €6.57M | €10.79M | €5.14M
Avg EBITDA margin | 90.86% | 79.78% | 91.33% | 82.59% | 91.28% | 81.77% | 88.38% | 78.47%
RETURNS (operator)
Equity IRR | 149.77% | 33.31% | 128.78% | 39.89% | 104.23% | 23.95% | 57.21% | 7.21%
Project IRR | 46.41% | 12.82% | 43.03% | 15.78% | 36.49% | 11.84% | 23.11% | 6.45%
Equity MIRR | 23.52% | 11.80% | 23.58% | 13.88% | 22.67% | 11.72% | 18.68% | 7.48%
Project MIRR | 15.91% | 9.37% | 15.95% | 10.29% | 15.29% | 9.27% | 12.65% | 7.43%
Avg ROE | 75.85% | 16.87% | 78.43% | 23.40% | 72.72% | 18.39% | 45.16% | 9.29%
Avg ROIC | 24.16% | 6.50% | 24.93% | 8.43% | 23.22% | 6.92% | 14.95% | 4.33%
MOIC (money multiple) | 11.71x | 3.32x | 12.10x | 4.14x | 11.24x | 3.47x | 7.13x | 2.28x
VALUATION (NPV)
Equity NPV @ 8% | €6.82M | €953k | €6.88M | €1.51M | €6.04M | €889k | €3.30M | €-50k
Equity NPV @ 10% | €6.14M | €804k | €6.14M | €1.29M | €5.34M | €701k | €2.85M | €-158k
Equity NPV @ 12% | €5.56M | €677k | €5.53M | €1.11M | €4.74M | €546k | €2.47M | €-246k
Project NPV @ 8% | €6.60M | €737k | €6.66M | €1.30M | €5.83M | €672k | €3.09M | €-267k
Project NPV @ 10% | €5.73M | €399k | €5.74M | €889k | €4.93M | €296k | €2.44M | €-563k
PAYBACK
Equity payback (simple) | 0.6 yr | 1.8 yr | 0.7 yr | 1.9 yr | 0.9 yr | 2.8 yr | 1.6 yr | 12.0 yr
Equity payback (discounted @ 8%) | 0.7 yr | 2.1 yr | 0.8 yr | 2.2 yr | 1.0 yr | 3.4 yr | 1.8 yr | never
Project payback (simple) | 1.8 yr | 5.3 yr | 2.0 yr | 4.6 yr | 2.4 yr | 6.0 yr | 3.6 yr | 8.0 yr
Project payback (discounted @ 8%) | 2.0 yr | 7.5 yr | 2.3 yr | 6.4 yr | 2.8 yr | 8.7 yr | 4.8 yr | never
LENDER COVERAGE
Min DSCR | 2.85x | 1.11x | 3.02x | 1.34x | 3.19x | 1.35x | 2.36x | 1.11x
Avg DSCR | nanx | nanx | nanx | nanx | nanx | nanx | nanx | nanx
LLCR (Loan Life Coverage) | 3.87x | 1.65x | 3.87x | 1.85x | 3.47x | 1.58x | 2.43x | 1.21x
PLCR (Project Life Coverage) | 4.54x | 1.89x | 4.59x | 2.15x | 4.24x | 1.88x | 3.00x | 1.46x
DSCR breach years | — | 9, 10 | — | — | — | — | — | 9, 10

## 6. Sensitivity
Sensitivity Analysis — single-variable swings on Scenario A (Current, 10% share)
Each row holds all other defaults constant and varies ONE driver. Use to identify the IRR's biggest exposure. Bold row = base case.
Variable | Value tested | Y1 revenue | Equity IRR | Min DSCR | vs base case
aFRR activation drag (share) | 0.10 (1% market share — strict bear) | €832k | 3.23% | 0.79x | -30.1pp
aFRR activation drag (share) | 0.15 (1.5% — Romanian mature) | €912k | 14.13% | 0.90x | -19.2pp
aFRR activation drag (share) | 0.25 (2.5% — DEFAULT realistic) | €1.07M | 33.31% | 1.11x | +0.0pp
aFRR activation drag (share) | 0.40 (4% — high optimism) | €1.31M | 57.19% | 1.43x | +23.9pp
aFRR activation drag (share) | 1.00 (10% — engineering optimum (no drag)) | €2.28M | 140.57% | 2.69x | +107.3pp
PZU drag (forecast error) | 0.55 (−45% — full forecast + Tg/Td) | €2.17M | 131.64% | 2.54x | +98.3pp
PZU drag (forecast error) | 0.65 (−35% — heavy drag) | €2.21M | 135.22% | 2.60x | +101.9pp
PZU drag (forecast error) | 0.80 (−20% — DEFAULT realistic) | €2.28M | 140.57% | 2.69x | +107.3pp
PZU drag (forecast error) | 0.90 (−10% — light drag) | €2.32M | 144.12% | 2.75x | +110.8pp
PZU drag (forecast error) | 1.00 (perfect foresight) | €2.36M | 147.66% | 2.81x | +114.4pp
aFRR capacity drag (REMIT/Tg/Td) | 0.85 (−15% — heavy tariffs) | €2.33M | 145.25% | 2.77x | +111.9pp
aFRR capacity drag (REMIT/Tg/Td) | 0.93 (−7% — DEFAULT realistic) | €2.36M | 147.66% | 2.81x | +114.4pp
aFRR capacity drag (REMIT/Tg/Td) | 1.00 (no tariff drag) | €2.39M | 149.77% | 2.85x | +116.5pp
aFRR-PZU stacking efficiency (PZU) | 0.30 (30% — heavy capacity reservation cost) | €2.22M | 135.56% | 2.61x | +102.3pp
aFRR-PZU stacking efficiency (PZU) | 0.50 (50% — DEFAULT (industry empirical)) | €2.39M | 149.77% | 2.85x | +116.5pp
aFRR-PZU stacking efficiency (PZU) | 0.75 (75% — efficient joint dispatch) | €2.59M | 167.31% | 3.15x | +134.0pp
aFRR-PZU stacking efficiency (PZU) | 1.00 (no stacking constraint (impossible)) | €2.80M | 184.69% | 3.45x | +151.4pp
aFRR-PZU stacking efficiency (activation) | 0.40 (40% — only some MWh available for activation) | €2.27M | 140.73% | 2.74x | +107.4pp
aFRR-PZU stacking efficiency (activation) | 0.60 (60% — DEFAULT) | €2.80M | 184.69% | 3.45x | +151.4pp
aFRR-PZU stacking efficiency (activation) | 0.80 (80% — efficient joint dispatch) | €3.34M | 228.33% | 4.15x | +195.0pp
aFRR-PZU stacking efficiency (activation) | 1.00 (no stacking constraint (impossible)) | €3.87M | 271.78% | 4.85x | +238.5pp
How to read: each variable changes one assumption while the rest stay at default. Δ vs base = percentage points difference vs the realistic Scenario A IRR. Variables with the largest swings are the IRR's biggest risk drivers — typically activation share assumption is the dominant one.