## Summary
aFRR scenarios — Current vs PICASSO vs Mature vs Bear ¦ 2025-05-01 → 2026-05-01 (formula-driven)
Battery configuration (common to all 4 scenarios — see Inputs sheet)
Power (MW) |  | Battery rated power
Energy capacity (MWh) |  | Daily throughput cap (1 cycle/day)
Acceptance rate |  | Balanced strategy
Real DAMAS aFRR+ (€/MW/h) |  | Edit on Inputs sheet
Real DAMAS aFRR- (€/MW/h) |  | Edit on Inputs sheet
Stacking — capacity |  | Physical constraint
Stacking — activation |  | Physical constraint
Scenario definitions + LIVE annual totals (formulas pull from each scenario sheet's TOTAL row)
Scenario | Market share | Capacity × | Activation × | Capacity rev (€) | Activation rev (€) | Total annual (€)
A. Current (10%, pre-PICASSO)
B. PICASSO go-live (−25%)
C. Mature market (5% share, −40%)
D. Bear case (2%, full saturation)
Scenario descriptions
A. Current (10%, pre-PICASSO) | Today's Romanian aFRR market. PICASSO platform NOT yet connected (Romania waiting on Hungary/MAVIR). Battery operator captures 10% of TSO activations (small new entrant in a sparse BESS market — only ~50 MW deployed Romania-wide). Real DAMAS capacity clearing prices apply. Activation revenue uses real per-slot DAMAS settlement prices.
B. PICASSO go-live (−25%) | PICASSO platform activates Romania (expected 2026-2027 once Hungary/MAVIR connects). Cross-border aFRR-energy bid stack caps Romanian extreme activation prices toward European average; capacity prices compress in parallel. Conservative step-down applied: −25% on BOTH capacity bid AND per-slot activation revenue.
C. Mature market (5% share, −40%) | Romanian BESS pipeline (1+ GW announced) materializes through 2027-2028. Market share compresses from 10% to 5% as new BESS deployments compete for the same activation volumes. aFRR capacity prices compress 40% to ~€5/MW/h (matching Germany's current level). Steady-state realistic case for years Y3-Y8.
D. Bear case (2%, full saturation) | Long-term steady state (2030+). Romanian BESS deploys 2-3 GW matching Germany's current density. Market share collapses to 2% per operator. aFRR capacity prices fall 60%. Activation prices fall 50% as PICASSO + thick bid stack normalize Romanian prices to European average. Bankability stress case used by lenders for late-life (Y8-Y15) cashflow projections.
Notes
• FORMULA-DRIVEN VERSION. Edit any yellow cell on Inputs to recompute every scenario instantly.
• All four scenarios run the SAME 10 MW / 20 MWh battery on the SAME real DAMAS market data (366 days × 96 slots/day) — only the market_share, capacity_mult, and activation_mult parameters differ.
• Capacity revenue per day = power × 24h × bid × acceptance × stack_capacity, where bid = MAX(damas_up, damas_down) × capacity_mult per scenario.
• Activation revenue per day = MIN(market × share × acceptance × stack_activation, power × hours, capacity) × actual_avg_settlement_price × activation_mult.
• PICASSO assumption (-25% step-down): conservative read of ENTSO-E PICASSO go-live data from DE/AT/CZ which saw 20-40% reduction in extreme tail prices. Romania expected to connect 2026-2027.
• Mature market (5% share, -40% capacity): extrapolation from Germany's BESS build-out 2022-2024 and current ~€3-4/MW/h aFRR clearing.
• Bear case (2% share, -60% capacity): long-term steady state matching Germany today after their compression, applied to Romania for Y8-Y15 cashflow stress testing.
• Numbers are SIMULATED on real DAMAS data — NOT bankable. Compliance gates (ANRE / OPCOM / PRE / BRP / BSP / FSE) and tariff exemption math apply downstream in investment_service.analyze().

## Scenario_A_Current
Date | Weekday | Selected | Recommended bid (€/MW/h) | Acceptance rate | Capacity revenue (€) | Slots activated (#/96) | Avg activation price (€/MWh) | Max activation price (€/MWh) | Market activations (MWh) | Captured energy (MWh) | Battery cap binding | Activation revenue (€) | Daily revenue (€)
TOTAL | 366 days | —

## Scenario_B_PICASSO
Date | Weekday | Selected | Recommended bid (€/MW/h) | Acceptance rate | Capacity revenue (€) | Slots activated (#/96) | Avg activation price (€/MWh) | Max activation price (€/MWh) | Market activations (MWh) | Captured energy (MWh) | Battery cap binding | Activation revenue (€) | Daily revenue (€)
TOTAL | 366 days | —

## Scenario_C_Mature
Date | Weekday | Selected | Recommended bid (€/MW/h) | Acceptance rate | Capacity revenue (€) | Slots activated (#/96) | Avg activation price (€/MWh) | Max activation price (€/MWh) | Market activations (MWh) | Captured energy (MWh) | Battery cap binding | Activation revenue (€) | Daily revenue (€)
TOTAL | 366 days | —

## Scenario_D_Bear
Date | Weekday | Selected | Recommended bid (€/MW/h) | Acceptance rate | Capacity revenue (€) | Slots activated (#/96) | Avg activation price (€/MWh) | Max activation price (€/MWh) | Market activations (MWh) | Captured energy (MWh) | Battery cap binding | Activation revenue (€) | Daily revenue (€)
TOTAL | 366 days | —

## Inputs
Inputs — edit yellow cells to recompute every scenario
Battery configuration (10 MW / 20 MWh canonical)
Power | 10 | Battery rated power
Energy capacity | 20 | Daily throughput cap
Hours per day | 24 | 24h availability
Acceptance rate | 80% | Balanced strategy 80%
DAMAS clearing — capacity bid base (€/MW/h)
aFRR Up clearing | 8.72 | Real DAMAS public-tender sample mean. Edit if you have different data.
aFRR Down clearing | 6.59 | ditto
Stacking factors (physical hardware constraint)
aFRR capacity stacking | 100% | Pure availability — independent of other streams
aFRR activation stacking | 60% | Activation MWh competes with PZU throughput
Scenario A — A. Current (10%, pre-PICASSO)
Market share | 10% | Captured share of TSO activations (~10% small entrant)
Capacity multiplier | 100% | × DAMAS clearing → bid
Activation multiplier | 100% | × actual settlement price → activation revenue
Scenario B — B. PICASSO go-live (−25%)
Market share | 10% | Captured share of TSO activations (~10% small entrant)
Capacity multiplier | 75% | × DAMAS clearing → bid
Activation multiplier | 75% | × actual settlement price → activation revenue
Scenario C — C. Mature market (5% share, −40%)
Market share | 5% | Captured share of TSO activations (~10% small entrant)
Capacity multiplier | 60% | × DAMAS clearing → bid
Activation multiplier | 65% | × actual settlement price → activation revenue
Scenario D — D. Bear case (2%, full saturation)
Market share | 2% | Captured share of TSO activations (~10% small entrant)
Capacity multiplier | 40% | × DAMAS clearing → bid
Activation multiplier | 50% | × actual settlement price → activation revenue

## DAMAS_Daily (hidden)
Date | Weekday | Market UP MWh | Market DOWN MWh | Avg price UP | Avg price DOWN | Max price UP | Max price DOWN | Slots UP | Slots DOWN
2025-05-01 | Thursday | 1445.312 | 286.725 | 176.0145 | 69.3535 | 485.667 | 393.897 | 53 | 46
2025-05-02 | Friday | 304.974 | 586.943 | 149.38 | 66.3912 | 305.921 | 376.6942 | 62 | 79
2025-05-03 | Saturday | 127.713 | 945.117 | 137.8957 | 59.27 | 234.5882 | 498.2406 | 58 | 81
2025-05-04 | Sunday | 335.388 | 810.297 | 128.4149 | 84.4991 | 441.1414 | 424.209 | 54 | 73
2025-05-05 | Monday | 529.044 | 628.732 | 182.0567 | 75.7698 | 468.4728 | 469.0718 | 57 | 61
2025-05-06 | Tuesday | 734.255 | 501.094 | 194.0688 | 100.8183 | 492.7358 | 487.7196 | 67 | 52
2025-05-07 | Wednesday | 349.234 | 807.899 | 164.8796 | 73.3513 | 350.1592 | 430.127 | 64 | 72
2025-05-08 | Thursday | 425.6429 | 339.5802 | 180.5886 | 63.7676 | 488.0296 | 244.1378 | 70 | 71
2025-05-09 | Friday | 538.178 | 665.572 | 171.0696 | 60.5608 | 472.8324 | 457.5816 | 67 | 74
2025-05-10 | Saturday | 866.356 | 611.614 | 172.8392 | 55.3551 | 478.502 | 340.0202 | 61 | 50
2025-05-11 | Sunday | 340.749 | 646.838 | 145.5696 | 69.02 | 332.3852 | 472.5888 | 63 | 76
2025-05-12 | Monday | 1008.347 | 252.895 | 200.6468 | 72.3766 | 471.2738 | 401.2774 | 69 | 51
2025-05-13 | Tuesday | 405.517 | 729.712 | 153.41 | 63.8106 | 290.9856 | 460.8066 | 62 | 69
2025-05-14 | Wednesday | 403.594 | 920.566 | 158.9815 | 96.7217 | 451.273 | 497.3236 | 64 | 71
2025-05-15 | Thursday | 488.729 | 762.07 | 169.5857 | 79.3563 | 489.9308 | 470.1458 | 62 | 71
2025-05-16 | Friday | 1297.947 | 249.272 | 165.8375 | 59.7802 | 495.674 | 329.2552 | 67 | 57
2025-05-17 | Saturday | 1301.999 | 266.03 | 169.2338 | 57.1762 | 486.8284 | 429.7684 | 54 | 56
2025-05-18 | Sunday | 985.297 | 267.015 | 161.3264 | 71.6071 | 473.0914 | 493.0382 | 62 | 59
2025-05-19 | Monday | 655.321 | 765.421 | 160.4086 | 62.653 | 352.5776 | 428.2284 | 56 | 63
2025-05-20 | Tuesday | 794.155 | 502.219 | 174.1894 | 84.6427 | 466.2168 | 482.8104 | 64 | 65
2025-05-21 | Wednesday | 117.901 | 824.734 | 149.3241 | 70.7077 | 340.9834 | 448.5616 | 57 | 89
2025-05-22 | Thursday | 1126.629 | 251.816 | 160.8973 | 54.812 | 378.9326 | 309.9586 | 64 | 63
2025-05-23 | Friday | 252.294 | 523.446 | 161.5314 | 71.4703 | 411.0106 | 394.1796 | 67 | 82
2025-05-24 | Saturday | 739.912 | 562.789 | 159.3955 | 49.9574 | 457.6448 | 201.1786 | 50 | 65
2025-05-25 | Sunday | 572.602 | 489.888 | 146.9456 | 61.4554 | 488.0722 | 478.7034 | 58 | 66
2025-05-26 | Monday | 931.302 | 231.587 | 173.0484 | 70.128 | 395.9406 | 365.8946 | 71 | 59
2025-05-27 | Tuesday | 676.966 | 685.001 | 159.4442 | 81.2941 | 427.5852 | 397.8424 | 60 | 70
2025-05-28 | Wednesday | 198.575 | 865.476 | 151.0745 | 50.3054 | 446.7394 | 256.1196 | 60 | 88
2025-05-29 | Thursday | 413.651 | 317.908 | 160.524 | 62.6636 | 456.7868 | 483.4616 | 73 | 71
2025-05-30 | Friday | 373.386 | 889.924 | 161.1964 | 70.2996 | 472.4182 | 446.7058 | 67 | 69
2025-05-31 | Saturday | 642.664 | 661.179 | 164.2361 | 80.7539 | 397.8888 | 452.8156 | 64 | 56
2025-06-01 | Sunday | 150.208 | 1059.865 | 127.6715 | 73.857 | 259.6456 | 470.2754 | 40 | 84
2025-06-02 | Monday | 157.384 | 987.112 | 148.2444 | 76.8151 | 307.2846 | 460.3874 | 54 | 81
2025-06-03 | Tuesday | 303.432 | 861.3 | 158.5638 | 88.4542 | 298.9062 | 482.7452 | 58 | 75
2025-06-04 | Wednesday | 358.938 | 475.819 | 163.8214 | 53.3635 | 494.8204 | 403.864 | 71 | 82
2025-06-05 | Thursday | 370.81 | 557.845 | 156.6974 | 60.2843 | 396.643 | 375.0544 | 63 | 83
2025-06-06 | Friday | 503.262 | 775.181 | 158.7967 | 52.0594 | 446.4198 | 308.432 | 52 | 77
2025-06-07 | Saturday | 219.106 | 551.631 | 127.9007 | 65.2693 | 357.222 | 358.7516 | 63 | 83
2025-06-08 | Sunday | 188.033 | 930.077 | 124.2983 | 58.3786 | 248.826 | 470.4962 | 45 | 78
2025-06-09 | Monday | 276.802 | 1138.761 | 130.359 | 81.3731 | 187.4616 | 417.8126 | 46 | 68
2025-06-10 | Tuesday | 855.121 | 843.861 | 178.6129 | 96.9179 | 485.3906 | 439.8062 | 47 | 62
2025-06-11 | Wednesday | 471.568 | 700.496 | 146.423 | 65.6719 | 460.2088 | 479.9104 | 64 | 76
2025-06-12 | Thursday | 587.675 | 738.053 | 154.7616 | 58.4962 | 494.0698 | 448.206 | 55 | 75
2025-06-13 | Friday | 381.353 | 882.324 | 154.5858 | 83.4038 | 493.7796 | 499.8664 | 60 | 72
2025-06-14 | Saturday | 322.146 | 443.932 | 127.2699 | 58.187 | 240.195 | 490.0298 | 72 | 77
2025-06-15 | Sunday | 230.247 | 852.375 | 138.6814 | 66.0237 | 490.2972 | 473.9528 | 51 | 76
2025-06-16 | Monday | 231.595 | 756.923 | 137.899 | 50.7036 | 265.853 | 394.9078 | 56 | 87
2025-06-17 | Tuesday | 516.664 | 635.054 | 152.7386 | 87.3429 | 273.5772 | 483.1304 | 63 | 70
2025-06-18 | Wednesday | 718.629 | 570.495 | 156.3649 | 81.0343 | 341.892 | 468.0718 | 66 | 65
2025-06-19 | Thursday | 413.879 | 374.088 | 137.0515 | 66.0099 | 250.2608 | 410.75 | 79 | 76
2025-06-20 | Friday | 294.973 | 1016.438 | 136.5581 | 97.66 | 495.4082 | 467.4814 | 57 | 78
2025-06-21 | Saturday | 483.048 | 780.143 | 142.3947 | 93.188 | 250.405 | 498.6544 | 65 | 66
2025-06-22 | Sunday | 571.433 | 527.905 | 149.794 | 71.5483 | 401.6864 | 471.2728 | 70 | 68
2025-06-23 | Monday | 610.528 | 478.555 | 153.6799 | 54.7882 | 430.8906 | 354.5698 | 63 | 76
2025-06-24 | Tuesday | 190.43 | 1098.636 | 136.8609 | 54.6842 | 335.9142 | 239.9608 | 60 | 85
2025-06-25 | Wednesday | 617.724 | 525.085 | 147.6074 | 50.8181 | 333.7356 | 112.645 | 67 | 70
2025-06-26 | Thursday | 1622.165 | 192.012 | 169.8463 | 69.6752 | 397.676 | 93.3334 | 63 | 59
2025-06-27 | Friday | 673.005 | 399.865 | 152.0531 | 65.9985 | 381.2502 | 98.2536 | 76 | 72
2025-06-28 | Saturday | 605.947 | 546.69 | 155.3269 | 80.331 | 462.559 | 390.9858 | 58 | 57
2025-06-29 | Sunday | 411.185 | 835.555 | 148.45 | 109.4463 | 483.1966 | 478.8198 | 54 | 58
2025-06-30 | Monday | 593.279 | 618.371 | 166.4714 | 83.8448 | 475.1558 | 482.482 | 60 | 69
2025-07-01 | Tuesday | 392.649 | 1090.244 | 161.1047 | 80.2792 | 423.859 | 446.015 | 59 | 69
2025-07-02 | Wednesday | 131.587 | 1475.9 | 139.5848 | 83.2641 | 244.9098 | 462.2672 | 33 | 75
2025-07-03 | Thursday | 370.67 | 307.949 | 149.1349 | 80.2456 | 484.4304 | 485.3046 | 78 | 81
2025-07-04 | Friday | 554.444 | 102.198 | 138.4035 | 67.8793 | 419.9056 | 80 | 84 | 69
2025-07-05 | Saturday | 166.511 | 846.138 | 127.0335 | 68.6457 | 349.3392 | 442.1336 | 52 | 86
2025-07-06 | Sunday | 454.685 | 753.247 | 137.2128 | 59.1947 | 381.0076 | 400.618 | 54 | 68
2025-07-07 | Monday | 387.749 | 327.601 | 164.3855 | 61.3495 | 387.2022 | 83.6954 | 73 | 80
2025-07-08 | Tuesday | 829.918 | 271.895 | 168.9906 | 72.0276 | 439.9076 | 478.7806 | 67 | 61
2025-07-09 | Wednesday | 720.072 | 682.578 | 155.5521 | 75.5189 | 447.6856 | 395.5126 | 61 | 66
2025-07-10 | Thursday | 70.089 | 1255.453 | 134.1004 | 74.1118 | 146.913 | 493.7418 | 40 | 80
2025-07-11 | Friday | 97.919 | 910.878 | 136.1246 | 54.2562 | 190.2252 | 428.0502 | 49 | 88
2025-07-12 | Saturday | 219.939 | 570.855 | 134.6921 | 67.7439 | 190.8458 | 412.8202 | 64 | 81
2025-07-13 | Sunday | 138.06 | 707.9969 | 132.9758 | 61.1422 | 152.371 | 261.282 | 56 | 91
2025-07-14 | Monday | 351.6716 | 570.2434 | 149.2256 | 68.161 | 463.4826 | 477.8848 | 59 | 87
2025-07-15 | Tuesday | 162.165 | 493.345 | 144.4901 | 55.0798 | 442.9866 | 175.8336 | 63 | 92
2025-07-16 | Wednesday | 436.487 | 565.465 | 159.6707 | 69.8265 | 451.7722 | 338.6774 | 65 | 69
2025-07-17 | Thursday | 616.508 | 851.052 | 161.8807 | 68.4494 | 496.9536 | 431.0256 | 53 | 69
2025-07-18 | Friday | 234.793 | 1565.074 | 136.6346 | 74.7713 | 498.9294 | 359.3838 | 42 | 66
2025-07-19 | Saturday | 459.007 | 184.562 | 158.7386 | 91.1062 | 393.5852 | 413.5832 | 77 | 69
2025-07-20 | Sunday | 198.089 | 645.698 | 141.0625 | 80.6789 | 491.5582 | 375.115 | 68 | 62
2025-07-21 | Monday | 215.211 | 617.129 | 138.3418 | 58.3437 | 462.3106 | 356.4346 | 54 | 89
2025-07-22 | Tuesday | 671.871 | 762.349 | 145.3177 | 73.2904 | 457.8758 | 472.3974 | 54 | 69
2025-07-23 | Wednesday | 526.108 | 804.276 | 173.9295 | 85.785 | 401.1732 | 480.4428 | 46 | 67
2025-07-24 | Thursday | 711.027 | 164.173 | 168.9237 | 69.0042 | 496.559 | 84 | 73 | 72
2025-07-25 | Friday | 965.349 | 184.471 | 170.1578 | 64.3763 | 448.014 | 84.2836 | 79 | 65
2025-07-26 | Saturday | 471.178 | 327.567 | 155.271 | 65.2264 | 423.7092 | 84.4 | 63 | 78
2025-07-27 | Sunday | 549.137 | 152.262 | 147.3995 | 69.1031 | 420.9076 | 123.1644 | 79 | 79
2025-07-28 | Monday | 690.742 | 519.116 | 161.9961 | 62.6187 | 371.0852 | 84.3764 | 62 | 64
2025-07-29 | Tuesday | 754.379 | 788.424 | 154.2227 | 76.2251 | 327.809 | 471.3576 | 66 | 59
2025-07-30 | Wednesday | 535.588 | 659.416 | 144.0742 | 77.0179 | 482.7996 | 454.8086 | 61 | 69
2025-07-31 | Thursday | 453.59 | 340.476 | 153.3175 | 64.1329 | 488.4906 | 84 | 68 | 69
2025-08-01 | Friday | 238.352 | 812.237 | 141.7077 | 75.6311 | 334.3666 | 430.7734 | 63 | 76
2025-08-02 | Saturday | 526.7 | 200.263 | 143.2992 | 94.2503 | 458.005 | 406.332 | 81 | 65
2025-08-03 | Sunday | 399.36 | 309.918 | 146.9824 | 98.0116 | 491.6014 | 474.8802 | 66 | 72
2025-08-04 | Monday | 338.008 | 520.617 | 126.5832 | 61.5807 | 418.3912 | 277.531 | 62 | 83
2025-08-05 | Tuesday | 373.635 | 954.792 | 135.7471 | 65.7616 | 404.4082 | 405.242 | 49 | 79
2025-08-06 | Wednesday | 667.672 | 829.216 | 154.4421 | 100.9055 | 368.7882 | 478.4942 | 44 | 47
2025-08-07 | Thursday | 535.356 | 950.415 | 124.8274 | 81.4329 | 489.1646 | 499.1924 | 51 | 64
2025-08-08 | Friday | 295.253 | 604.64 | 125.5031 | 80.6803 | 417.823 | 454.7106 | 57 | 70
2025-08-09 | Saturday | 246.367 | 260.45 | 122.7482 | 68.4721 | 199.0882 | 485.6576 | 75 | 75
2025-08-10 | Sunday | 560.163 | 299.877 | 130.8612 | 66.9316 | 423.477 | 418.5216 | 57 | 75
2025-08-11 | Monday | 339.055 | 1060.963 | 134.0684 | 74.1349 | 464.0834 | 471.6104 | 53 | 64
2025-08-12 | Tuesday | 286.824 | 1021.193 | 141.3494 | 62.5278 | 471.6246 | 426.5792 | 39 | 79
2025-08-13 | Wednesday | 644.617 | 595.472 | 137.1054 | 66.4582 | 457.9138 | 437.0184 | 48 | 69
2025-08-14 | Thursday | 647.852 | 290.327 | 152.4604 | 64.2496 | 361.2302 | 294.3278 | 70 | 61
2025-08-15 | Friday | 61.814 | 789.402 | 117.3861 | 66.7221 | 139.5328 | 416.8248 | 45 | 90
2025-08-16 | Saturday | 408.868 | 547.747 | 142.167 | 50.9152 | 456.8022 | 82.4404 | 60 | 77
2025-08-17 | Sunday | 127.969 | 457.424 | 113.374 | 56.5924 | 139.7244 | 84 | 58 | 91
2025-08-18 | Monday | 150.375 | 1053.42 | 115.7612 | 62.5363 | 343.2826 | 439.9018 | 51 | 76
2025-08-19 | Tuesday | 367.561 | 520.732 | 136.7381 | 66.446 | 456.2446 | 388.7944 | 67 | 72
2025-08-20 | Wednesday | 128.669 | 818.976 | 124.9844 | 80.0884 | 222.2408 | 374.7236 | 61 | 76
2025-08-21 | Thursday | 550.854 | 244.807 | 143.5235 | 65.3988 | 242.7466 | 366.817 | 77 | 61
2025-08-22 | Friday | 312.359 | 1054.463 | 128.6952 | 61.6193 | 459.4622 | 445.4926 | 50 | 74
2025-08-23 | Saturday | 56.396 | 985.732 | 118.1352 | 75.5668 | 167.2038 | 488.7872 | 55 | 72
2025-08-24 | Sunday | 149.77 | 1526.347 | 121.0951 | 97.31 | 203.0176 | 481.3598 | 43 | 73
2025-08-25 | Monday | 88.523 | 1130.276 | 120.3928 | 74.2027 | 178.5904 | 482.2588 | 46 | 72
2025-08-26 | Tuesday | 133.003 | 1272.929 | 138.4109 | 55.6952 | 267.6162 | 291.0712 | 40 | 76
2025-08-27 | Wednesday | 201.55 | 906.948 | 140.1465 | 50.2453 | 313.4008 | 299.469 | 55 | 78
2025-08-28 | Thursday | 262.939 | 848.19 | 142.1826 | 74.0752 | 486.2104 | 463.3534 | 53 | 84
2025-08-29 | Friday | 69.902 | 1139.733 | 122.4236 | 54.7549 | 140 | 418.5498 | 39 | 85
2025-08-30 | Saturday | 509.552 | 304.572 | 144.9585 | 50.7915 | 472.5182 | 80 | 70 | 57
2025-08-31 | Sunday | 279.485 | 719.605 | 125.8039 | 56.9018 | 210.615 | 385.0446 | 64 | 77
2025-09-01 | Monday | 306.509 | 749.482 | 134.6718 | 49.1259 | 400.084 | 265.016 | 66 | 79
2025-09-02 | Tuesday | 592.517 | 344.385 | 141.5055 | 55.8206 | 429.3376 | 426.6134 | 67 | 72
2025-09-03 | Wednesday | 1014.735 | 532.681 | 160.9366 | 46.9186 | 497.3276 | 80 | 57 | 61
2025-09-04 | Thursday | 306.694 | 1211.448 | 147.1837 | 70.9999 | 423.012 | 494.0512 | 49 | 78
2025-09-05 | Friday | 212.28 | 727.008 | 139.8275 | 57.5741 | 197.2334 | 291.2582 | 70 | 78
2025-09-06 | Saturday | 416.98 | 977.046 | 152.5026 | 56.0634 | 371.0424 | 326.5738 | 53 | 74
2025-09-07 | Sunday | 248.033 | 880.447 | 138.0254 | 39.1311 | 364.664 | 359.959 | 53 | 84
2025-09-08 | Monday | 193.935 | 786.729 | 146.857 | 77.7566 | 383.2728 | 476.5594 | 61 | 80
2025-09-09 | Tuesday | 463.012 | 374.405 | 161.0667 | 61.758 | 394.7716 | 284.7578 | 68 | 80
2025-09-10 | Wednesday | 578.339 | 331.311 | 167.1808 | 65.2503 | 456.1972 | 273.9054 | 68 | 77
2025-09-11 | Thursday | 419.207 | 688.41 | 159.1454 | 64.3093 | 371.9626 | 459.7076 | 57 | 73
2025-09-12 | Friday | 670.451 | 419.715 | 151.4475 | 83.3745 | 252.104 | 386.3074 | 72 | 57
2025-09-13 | Saturday | 421.11 | 873.275 | 139.0567 | 77.1996 | 200.5558 | 379.7084 | 71 | 63
2025-09-14 | Sunday | 423.79 | 624.884 | 137.0506 | 58.7221 | 255.0572 | 421.3762 | 65 | 71
2025-09-15 | Monday | 430.136 | 1065.414 | 148.8896 | 76.8056 | 481.3994 | 436.3672 | 46 | 72
2025-09-16 | Tuesday | 742.999 | 410.746 | 165.4676 | 80.9217 | 439.889 | 459.3578 | 72 | 65
2025-09-17 | Wednesday | 656.938 | 878.99 | 146.6015 | 82.9931 | 374.9132 | 465.0338 | 58 | 67
2025-09-18 | Thursday | 31.775 | 1979.177 | 104.3899 | 88.5414 | 160.2548 | 483.6434 | 36 | 79
2025-09-19 | Friday | 522.411 | 1005.716 | 145.3492 | 60.5084 | 378.9298 | 425.6158 | 55 | 73
2025-09-20 | Saturday | 493.103 | 531.169 | 120.2585 | 62.703 | 296.9264 | 404.0094 | 55 | 79
2025-09-21 | Sunday | 199.469 | 993.834 | 123.4824 | 74.5981 | 461.3448 | 400.7044 | 53 | 68
2025-09-22 | Monday | 309.992 | 781.426 | 149.1489 | 51.9914 | 477.1214 | 234.0336 | 50 | 85
2025-09-23 | Tuesday | 575.058 | 424.578 | 154.2661 | 51.8901 | 420.3228 | 80 | 72 | 73
2025-09-24 | Wednesday | 562.123 | 346.985 | 162.0463 | 62.1644 | 334.2972 | 80 | 75 | 76
2025-09-25 | Thursday | 985.798 | 406.059 | 178.1469 | 52.8489 | 467.5438 | 188.0254 | 68 | 62
2025-09-26 | Friday | 874.799 | 665.835 | 166.7681 | 53.8799 | 332.5764 | 85.4904 | 53 | 71
2025-09-27 | Saturday | 331.188 | 492.924 | 151.6217 | 64.4335 | 290.6026 | 310.3116 | 66 | 76
2025-09-28 | Sunday | 219.899 | 953.338 | 169.6936 | 65.8641 | 485.0918 | 394.66 | 40 | 82
2025-09-29 | Monday | 668.687 | 462.062 | 190.735 | 52.562 | 475.6622 | 80 | 63 | 74
2025-09-30 | Tuesday | 969.997 | 528.649 | 192.0909 | 57.4629 | 480.3318 | 143.986 | 60 | 63
2025-10-01 | Wednesday | 107.414 | 611.556 | 135.3901 | 56.3041 | 231.118 | 80 | 62 | 92
2025-10-02 | Thursday | 935.326 | 406.833 | 183.4107 | 66.488 | 398.9452 | 393.9218 | 63 | 60
2025-10-03 | Friday | 628.0536 | 438.6196 | 181.6988 | 79.1356 | 452.6895 | 294.491 | 80 | 82
2025-10-04 | Saturday | 2963.324 | 378.258 | 161.8327 | 60.4174 | 437.3872 | 80 | 81 | 56
2025-10-05 | Sunday | 488.431 | 1427.621 | 132.5142 | 49.5461 | 353.445 | 319.7682 | 72 | 88
2025-10-06 | Monday | 5951.565 | 115.406 | 223.5745 | 64.3971 | 467.0486 | 84 | 61 | 51
2025-10-07 | Tuesday | 2571.863 | 644.214 | 215.4467 | 58.889 | 451.8238 | 184.2156 | 70 | 52
2025-10-08 | Wednesday | 6565.865 | 214.658 | 222.726 | 68.5518 | 474.9814 | 80 | 82 | 49
2025-10-09 | Thursday | 1106.663 | 966.781 | 173.8951 | 54.2167 | 456.9918 | 157.0508 | 77 | 80
2025-10-10 | Friday | 1205.264 | 895.821 | 183.0123 | 57.7312 | 376.329 | 392.7116 | 76 | 77
2025-10-11 | Saturday | 1409.284 | 307.521 | 164.6527 | 62.5848 | 385.399 | 80 | 81 | 66
2025-10-12 | Sunday | 1031.645 | 390.822 | 151.381 | 61.0006 | 468.342 | 140.067 | 66 | 75
2025-10-13 | Monday | 903.067 | 982.839 | 181.7131 | 82.6503 | 410.5338 | 498.7862 | 74 | 59
2025-10-14 | Tuesday | 394.571 | 1213.418 | 166.9768 | 69.2791 | 391.703 | 377.9732 | 64 | 84
2025-10-15 | Wednesday | 1472.427 | 253.196 | 233.4706 | 70.1409 | 477.9822 | 82 | 74 | 70
2025-10-16 | Thursday | 3174.875 | 224.758 | 203.9614 | 70.5178 | 454.6264 | 82 | 88 | 59
2025-10-17 | Friday | 1948.909 | 744.297 | 187.7386 | 58.6936 | 401.4798 | 109.3364 | 73 | 69
2025-10-18 | Saturday | 2801.563 | 122.502 | 201.1125 | 67.8171 | 396.7464 | 90 | 83 | 57
2025-10-19 | Sunday | 29.907 | 2287.415 | 141.5296 | 63.642 | 343.5468 | 333.5588 | 53 | 93
2025-10-20 | Monday | 1155.074 | 1922.443 | 221.514 | 43.5413 | 487.7726 | 90 | 56 | 73
2025-10-21 | Tuesday | 301.594 | 714.012 | 164.5032 | 56.6088 | 426.1838 | 360.2584 | 64 | 86
2025-10-22 | Wednesday | 364.105 | 832.696 | 178.6375 | 60.3217 | 428.1046 | 275.9744 | 60 | 81
2025-10-23 | Thursday | 2997.084 | 289.824 | 195.5901 | 64.4255 | 375.072 | 80 | 76 | 63
2025-10-24 | Friday | 1547.162 | 1969.522 | 151.3346 | 60.7978 | 227.94 | 408.9956 | 64 | 76
2025-10-25 | Saturday | 327.317 | 1601.892 | 145.4824 | 41.303 | 354.656 | 307.8978 | 64 | 88
2025-10-26 | Sunday | 3707.97 | 456.152 | 133.6078 | 70.427 | 290.6756 | 435.8736 | 81 | 69
2025-10-27 | Monday | 1801.531 | 1643.404 | 192.4317 | 69.5818 | 462.7268 | 499.7958 | 56 | 76
2025-10-28 | Tuesday | 1569.143 | 2127.43 | 190.5464 | 60.3901 | 427.0502 | 411.7662 | 61 | 70
2025-10-29 | Wednesday | 238.764 | 1447.294 | 150.8449 | 63.5423 | 491.5922 | 388.1842 | 70 | 78
2025-10-30 | Thursday | 364.446 | 852.255 | 151.2759 | 51.0253 | 399.1136 | 80 | 65 | 87
2025-10-31 | Friday | 1599.671 | 801.385 | 197.0769 | 50.4684 | 460.9986 | 81 | 72 | 69
2025-11-01 | Saturday | 164.437 | 2382.6 | 154.5022 | 68.6322 | 401.9458 | 483.6732 | 56 | 84
2025-11-02 | Sunday | 323.636 | 1661.434 | 140.0327 | 40.8746 | 166.8782 | 188.4758 | 66 | 84
2025-11-03 | Monday | 244.663 | 2578.715 | 142.1511 | 38.8606 | 254.653 | 235.6312 | 53 | 92
2025-11-04 | Tuesday | 543.105 | 1624.001 | 163.9666 | 52.0027 | 371.9068 | 278.7798 | 59 | 87
2025-11-05 | Wednesday | 1119.503 | 808.914 | 192.7629 | 50.4702 | 476.2668 | 80 | 75 | 73
2025-11-06 | Thursday | 328.772 | 992.58 | 149.6612 | 56.9961 | 282.6466 | 422.0902 | 61 | 81
2025-11-07 | Friday | 2677.086 | 592.565 | 218.365 | 55.4382 | 452.6086 | 80.2 | 71 | 67
2025-11-08 | Saturday | 479.511 | 3260.206 | 169.6666 | 36.872 | 496.9542 | 230.1184 | 60 | 77
2025-11-09 | Sunday | 1226.502 | 957.959 | 165.0056 | 56.3288 | 320.1858 | 100.9716 | 65 | 90
2025-11-10 | Monday | 1551.252 | 371.596 | 200.8598 | 68.5872 | 489.6402 | 325.4346 | 66 | 80
2025-11-11 | Tuesday | 1977.346 | 410.205 | 179.2709 | 66.641 | 402.2208 | 398.4592 | 70 | 71
2025-11-12 | Wednesday | 791.896 | 366.397 | 166.5071 | 64.522 | 482.391 | 80.2 | 82 | 72
2025-11-13 | Thursday | 1080.123 | 336.829 | 207.5614 | 61.814 | 404.88 | 80 | 83 | 65
2025-11-14 | Friday | 2088.326 | 17.616 | 220.7913 | 73.7884 | 477.0014 | 81 | 86 | 42
2025-11-15 | Saturday | 2675.574 | 668.486 | 177.0669 | 53.5772 | 401.0954 | 81 | 79 | 79
2025-11-16 | Sunday | 2213.858 | 429.315 | 189.5069 | 67.2528 | 393.3812 | 409.7452 | 73 | 62
2025-11-17 | Monday | 1193.769 | 286.744 | 186.9854 | 61.3423 | 444.737 | 80 | 80 | 74
2025-11-18 | Tuesday | 2075.35 | 1126.228 | 195.758 | 51.9511 | 498.945 | 494.2134 | 58 | 68
2025-11-19 | Wednesday | 2152.046 | 855.671 | 221.4081 | 50.7437 | 477.072 | 329.7312 | 66 | 56
2025-11-20 | Thursday | 1221.367 | 472.496 | 192.2216 | 70.075 | 476.5478 | 345.8416 | 74 | 70
2025-11-21 | Friday | 801.385 | 1297.348 | 172.6624 | 68.771 | 407.2646 | 491.0762 | 78 | 80
2025-11-22 | Saturday | 1713.239 | 501.389 | 193.4894 | 73.4741 | 472.629 | 476.3008 | 64 | 64
2025-11-23 | Sunday | 3303.443 | 620.746 | 212.9396 | 53.1164 | 498.7984 | 238.0692 | 66 | 50
2025-11-24 | Monday | 430.337 | 2554.039 | 148.774 | 50.0853 | 464.1788 | 483.29 | 60 | 92
2025-11-25 | Tuesday | 235.662 | 1604.185 | 165.0556 | 41.1309 | 469.9312 | 291.9192 | 62 | 82
2025-11-26 | Wednesday | 1554.294 | 978.914 | 205.7668 | 57.2201 | 463.7466 | 307.818 | 47 | 74
2025-11-27 | Thursday | 1969.337 | 235.71 | 197.2858 | 68.4049 | 494.4736 | 127.3122 | 83 | 68
2025-11-28 | Friday | 1171.748 | 507.957 | 204.7878 | 60.5503 | 431.8954 | 80 | 74 | 73
2025-11-29 | Saturday | 808.671 | 3145.027 | 181.2973 | 41.9512 | 423.4046 | 300.8302 | 62 | 86
2025-11-30 | Sunday | 2351.697 | 1691.019 | 186.0294 | 53.2608 | 450.4388 | 496.6666 | 71 | 80
2025-12-01 | Monday | 978.565 | 2000.931 | 192.622 | 62.4054 | 453.7278 | 391.4066 | 65 | 79
2025-12-02 | Tuesday | 631.149 | 849.513 | 179.0676 | 61.8739 | 480.3102 | 314.332 | 66 | 68
2025-12-03 | Wednesday | 219.829 | 1171.815 | 169.1941 | 54.451 | 490.0768 | 369.1492 | 63 | 85
2025-12-04 | Thursday | 110.844 | 2407.778 | 140.4074 | 54.3139 | 255.4424 | 430.1732 | 53 | 91
2025-12-05 | Friday | 394.416 | 1972.596 | 167.7571 | 56.4754 | 253.6924 | 260.6994 | 37 | 84
2025-12-06 | Saturday | 129.128 | 3431.703 | 162.6563 | 43.3951 | 374.6504 | 417.8894 | 36 | 90
2025-12-07 | Sunday | 234.242 | 1390.678 | 160.6171 | 54.1553 | 379.9324 | 247.0994 | 56 | 81
2025-12-08 | Monday | 2353.563 | 780.544 | 188.1752 | 64.4447 | 464.348 | 354.0466 | 67 | 81
2025-12-09 | Tuesday | 484.567 | 543.457 | 174.0109 | 80.8408 | 334.8328 | 383.8238 | 67 | 82
2025-12-10 | Wednesday | 519.438 | 1807.651 | 174.1733 | 45.8907 | 402.3376 | 80 | 83 | 76
2025-12-11 | Thursday | 149.728 | 606.588 | 148.2628 | 58.1612 | 183.5132 | 152.3004 | 61 | 87
2025-12-12 | Friday | 647.171 | 265.216 | 177.7326 | 64.2303 | 471.8656 | 80 | 71 | 68
2025-12-13 | Saturday | 330.644 | 236.143 | 157.0885 | 66.1021 | 229.7652 | 80 | 81 | 76
2025-12-14 | Sunday | 1113.072 | 1381.676 | 167.5978 | 48.4847 | 335.6758 | 317.7364 | 57 | 79
2025-12-15 | Monday | 1912.897 | 163.062 | 198.4977 | 62.2015 | 486.6856 | 80.2 | 64 | 57
2025-12-16 | Tuesday | 1553.784 | 143.829 | 208.2761 | 68.8798 | 483.5554 | 80.2 | 76 | 58
2025-12-17 | Wednesday | 2128.377 | 273.417 | 198.951 | 64.9145 | 424.7792 | 134.7892 | 76 | 69
2025-12-18 | Thursday | 465.101 | 1265.615 | 152.9707 | 68.1912 | 286.6148 | 389.9786 | 60 | 89
2025-12-19 | Friday | 65.254 | 4572.919 | 151.3386 | 55.8031 | 486.2446 | 427.792 | 27 | 94
2025-12-20 | Saturday | 1404.541 | 27.819 | 182.7286 | 64.5756 | 360.9596 | 80 | 80 | 24
2025-12-21 | Sunday | 572.924 | 185.011 | 168.4798 | 69.9083 | 379.879 | 80 | 68 | 58
2025-12-22 | Monday | 2162.829 | 1064.781 | 205.1656 | 48.3052 | 469.0486 | 109.8516 | 46 | 76
2025-12-23 | Tuesday | 3896.024 | 184.371 | 203.041 | 66.0072 | 394.8378 | 80 | 80 | 59
2025-12-24 | Wednesday | 1265.565 | 1702.654 | 200.3547 | 53.2113 | 494.8332 | 191.2346 | 56 | 83
2025-12-25 | Thursday | 2397.272 | 452.68 | 175.9431 | 49.1679 | 491.2596 | 80 | 87 | 47
2025-12-26 | Friday | 2766.002 | 373.48 | 170.8708 | 57.8797 | 319.6426 | 80 | 77 | 77
2025-12-27 | Saturday | 325.689 | 3071.74 | 162.1548 | 26.6827 | 270.588 | 80 | 44 | 87
2025-12-28 | Sunday | 1231.503 | 828.547 | 167.6902 | 54.667 | 413.2152 | 347.095 | 63 | 73
2025-12-29 | Monday | 1366.072 | 1687.426 | 179.1324 | 48.6265 | 477.9482 | 357.1266 | 50 | 83
2025-12-30 | Tuesday | 3352.578 | 407.634 | 200.5486 | 54.6288 | 474.6526 | 145.7576 | 71 | 57
2025-12-31 | Wednesday | 2041.357 | 1828.257 | 177.4773 | 43.6856 | 394.6334 | 178.1884 | 69 | 80
2026-01-01 | Thursday | 1515.92 | 818.708 | 154.9791 | 47.8027 | 263.3354 | 86.088 | 73 | 63
2026-01-02 | Friday | 2236.758 | 239.766 | 187.4047 | 66.3884 | 475.4852 | 453.0556 | 71 | 56
2026-01-03 | Saturday | 2006.117 | 1178.893 | 178.2185 | 47.5984 | 355.538 | 229.7336 | 55 | 78
2026-01-04 | Sunday | 1237.393 | 567.145 | 159.9351 | 60.5216 | 300.9048 | 368.7404 | 78 | 67
2026-01-05 | Monday | 3972.846 | 544.509 | 215.1363 | 58.2103 | 476.8398 | 467.5738 | 69 | 56
2026-01-06 | Tuesday | 2357.473 | 970.245 | 204.224 | 56.7278 | 495.7312 | 119.9336 | 73 | 60
2026-01-07 | Wednesday | 1132.713 | 1092.892 | 182.1236 | 48.6901 | 345.1742 | 136.82 | 73 | 63
2026-01-08 | Thursday | 11483.781 | 375.098 | 270.605 | 62.1216 | 457.6418 | 81.2 | 77 | 59
2026-01-09 | Friday | 1265.336 | 571.946 | 168.579 | 62.4757 | 490.6558 | 169.6812 | 85 | 77
2026-01-10 | Saturday | 1076.753 | 412.553 | 171.2665 | 60.1877 | 434.243 | 80 | 74 | 75
2026-01-11 | Sunday | 3165.804 | 1094.465 | 175.4567 | 51.0226 | 496.4446 | 269.2468 | 74 | 79
2026-01-12 | Monday | 1684.599 | 924.257 | 194.8283 | 46.734 | 433.3214 | 82 | 79 | 67
2026-01-13 | Tuesday | 1894.881 | 73.113 | 240.9032 | 74.1891 | 487.0638 | 82 | 79 | 52
2026-01-14 | Wednesday | 1707.34 | 546.745 | 209.5407 | 64.4406 | 426.165 | 172.5106 | 72 | 72
2026-01-15 | Thursday | 484.805 | 493.435 | 186.5419 | 71.2488 | 418.8398 | 314.355 | 72 | 83
2026-01-16 | Friday | 1191.573 | 304.875 | 186.4634 | 74.6912 | 296.221 | 404.3976 | 73 | 73
2026-01-17 | Saturday | 3606.297 | 268.555 | 212.8992 | 75.4171 | 457.7604 | 457.9554 | 81 | 53
2026-01-18 | Sunday | 2859.628 | 294.032 | 203.5133 | 93.8961 | 487.1434 | 489.3684 | 92 | 58
2026-01-19 | Monday | 2453.007 | 449.511 | 220.0516 | 89.3024 | 450.0112 | 455.1692 | 83 | 58
2026-01-20 | Tuesday | 3208.894 | 1493.706 | 301.8459 | 62.2501 | 496.3312 | 346.2542 | 73 | 51
2026-01-21 | Wednesday | 9168.935 | 216.941 | 242.2217 | 83.3879 | 463.4476 | 200 | 77 | 65
2026-01-22 | Thursday | 1604.332 | 868.077 | 265.984 | 83.6843 | 488.7692 | 219.2894 | 66 | 72
2026-01-23 | Friday | 436.397 | 851.012 | 215.8525 | 73.7828 | 398.6664 | 170.1736 | 78 | 89
2026-01-24 | Saturday | 2657.192 | 54.52 | 246.4964 | 69.3355 | 484.8994 | 82 | 87 | 40
2026-01-25 | Sunday | 2579.16 | 321.205 | 213.5444 | 75.4908 | 449.6204 | 308.4982 | 79 | 62
2026-01-26 | Monday | 3225.446 | 689.995 | 225.8707 | 70.5809 | 454.1318 | 354.9006 | 80 | 79
2026-01-27 | Tuesday | 324.155 | 1389.844 | 220.7661 | 64.0788 | 367.128 | 295.9464 | 64 | 75
2026-01-28 | Wednesday | 347.234 | 1234.509 | 198.9346 | 48.1778 | 462.6576 | 200 | 66 | 85
2026-01-29 | Thursday | 1905.55 | 653.195 | 211.3969 | 60.4283 | 453.8258 | 150 | 76 | 70
2026-01-30 | Friday | 659.379 | 1301.977 | 193.7295 | 44.0205 | 442.1578 | 100 | 69 | 84
2026-01-31 | Saturday | 4334.048 | 193.945 | 215.2857 | 75.4635 | 494.2326 | 114.0412 | 90 | 66
2026-02-01 | Sunday | 1963.296 | 478.78 | 201.4141 | 60.2811 | 336.1862 | 100 | 71 | 66
2026-02-02 | Monday | 840.813 | 500.045 | 206.6837 | 61.704 | 489.6462 | 100 | 88 | 71
2026-02-03 | Tuesday | 1377.516 | 351.856 | 203.7583 | 66.9179 | 426.3524 | 100.2 | 90 | 75
2026-02-04 | Wednesday | 578.451 | 1778.132 | 184.9659 | 58.7826 | 460.6192 | 424.6586 | 60 | 91
2026-02-05 | Thursday | 1222.908 | 693.54 | 210.4376 | 61.1879 | 492.5514 | 356.9016 | 64 | 55
2026-02-06 | Friday | 487.719 | 1239.874 | 193.2184 | 64.9482 | 469.8892 | 374.4074 | 76 | 72
2026-02-07 | Saturday | 868.156 | 269.57 | 184.2059 | 74.249 | 379.9188 | 140 | 77 | 78
2026-02-08 | Sunday | 784.914 | 1231.033 | 148.9744 | 50.282 | 190.0794 | 252.6996 | 69 | 87
2026-02-09 | Monday | 3060.739 | 1314.991 | 229.2835 | 59.6432 | 408.2782 | 438.731 | 72 | 64
2026-02-10 | Tuesday | 2941.045 | 247.715 | 214.9858 | 68.5071 | 497.0752 | 100.2 | 83 | 52
2026-02-11 | Wednesday | 726.115 | 1792.551 | 167.4575 | 56.2046 | 387.5256 | 222.9214 | 79 | 77
2026-02-12 | Thursday | 341.417 | 2270.505 | 147.9234 | 64.5813 | 388.2652 | 410.321 | 48 | 86
2026-02-13 | Friday | 190.615 | 553.198 | 143.6041 | 55.3379 | 459.519 | 222.5848 | 71 | 83
2026-02-14 | Saturday | 388.378 | 3141.471 | 139.9519 | 49.3032 | 463.0208 | 354.669 | 64 | 85
2026-02-15 | Sunday | 5488.812 | 748.067 | 138.0995 | 63.9122 | 470.2706 | 305.5916 | 78 | 53
2026-02-16 | Monday | 515.82 | 2149.205 | 189.5845 | 67.178 | 487.4434 | 440.4086 | 49 | 79
2026-02-17 | Tuesday | 2390.019 | 140.788 | 186.6822 | 81.9395 | 459.1492 | 435.0556 | 89 | 47
2026-02-18 | Wednesday | 2302.814 | 856.711 | 151.3096 | 50.3429 | 256.8912 | 172.6676 | 75 | 66
2026-02-19 | Thursday | 418.626 | 1559.62 | 145.2042 | 50.8828 | 274.3324 | 317.0434 | 60 | 90
2026-02-20 | Friday | 529.368 | 2307.839 | 165.9854 | 55.0403 | 475.3052 | 431.4212 | 53 | 84
2026-02-21 | Saturday | 2743.137 | 301.238 | 163.2568 | 49.6661 | 493.51 | 80 | 76 | 60
2026-02-22 | Sunday | 999.392 | 1840.296 | 130.656 | 61.0426 | 365.0246 | 483.7358 | 63 | 84
2026-02-23 | Monday | 129.803 | 2259.629 | 107.2349 | 53.4859 | 194.2714 | 489.951 | 56 | 92
2026-02-24 | Tuesday | 1002.603 | 2237.53 | 156.6423 | 33.8271 | 490.0546 | 100 | 78 | 81
2026-02-25 | Wednesday | 422.557 | 2528.049 | 135.525 | 46.0261 | 477.1144 | 180.5724 | 74 | 86
2026-02-26 | Thursday | 681.574 | 2889.737 | 143.2255 | 61.9911 | 327.3122 | 382.0534 | 74 | 81
2026-02-27 | Friday | 692.201 | 2081.185 | 158.2715 | 100.2059 | 328.0586 | 472.9852 | 64 | 68
2026-02-28 | Saturday | 5515.699 | 332.835 | 140.6394 | 90.3582 | 275.392 | 442.4434 | 95 | 58
2026-03-01 | Sunday | 4477.731 | 296.813 | 169.252 | 66.7522 | 470.2492 | 368.2536 | 82 | 53
2026-03-02 | Monday | 4860.812 | 734.826 | 172.6419 | 72.0545 | 363.7886 | 430.1052 | 82 | 67
2026-03-03 | Tuesday | 176.719 | 5605.501 | 153.2354 | 77.2041 | 317.1782 | 467.9928 | 52 | 94
2026-03-04 | Wednesday | 121.337 | 3855.817 | 153.8184 | 81.1523 | 249.2302 | 477.8042 | 58 | 87
2026-03-05 | Thursday | 211.65 | 5161.609 | 161.0166 | 59.5278 | 453.1262 | 413.9816 | 47 | 91
2026-03-06 | Friday | 1332.236 | 5072.674 | 188.6874 | 66.3676 | 449.2638 | 475.9928 | 64 | 75
2026-03-07 | Saturday | 349.163 | 1595.06 | 176.1074 | 40.9965 | 306.7988 | 484.2802 | 64 | 75
2026-03-08 | Sunday | 334.915 | 1306.561 | 178.7597 | 74.6066 | 484.0854 | 476.5908 | 58 | 78
2026-03-09 | Monday | 138.862 | 6203.281 | 166.672 | 97.5511 | 312.7906 | 360.2384 | 46 | 81
2026-03-10 | Tuesday | 797.31 | 2726.054 | 192.3689 | 48.5968 | 384.4236 | 315.7184 | 73 | 68
2026-03-11 | Wednesday | 813.086 | 2942.867 | 164.2148 | 39.9832 | 311.5702 | 199.314 | 66 | 78
2026-03-12 | Thursday | 1032.552 | 1549.853 | 195.6906 | 58.8669 | 452.7288 | 399.658 | 71 | 70
2026-03-13 | Friday | 303.925 | 1978.105 | 156.4164 | 49.5044 | 244.1782 | 402.3532 | 63 | 85
2026-03-14 | Saturday | 2475.311 | 784.807 | 180.7733 | 45.0233 | 428.9314 | 80 | 83 | 59
2026-03-15 | Sunday | 891.308 | 2317.267 | 192.6678 | 35.3875 | 431.564 | 483.367 | 63 | 82
2026-03-16 | Monday | 164.999 | 1922.544 | 162.9248 | 60.1658 | 399.7768 | 497.624 | 52 | 76
2026-03-17 | Tuesday | 590.048 | 4494.586 | 180.4062 | 40.2957 | 405.814 | 198.9416 | 53 | 84
2026-03-18 | Wednesday | 979.636 | 2456.424 | 176.2849 | 53.0569 | 304.7728 | 420.3294 | 52 | 67
2026-03-19 | Thursday | 6868.623 | 420.881 | 219.6496 | 67.0222 | 458.5852 | 223.4094 | 81 | 41
2026-03-20 | Friday | 2785.802 | 1406.539 | 207.234 | 42.4386 | 404.3514 | 390.9908 | 72 | 61
2026-03-21 | Saturday | 474.349 | 1611.151 | 156.3101 | 39.1953 | 380.0028 | 349.3862 | 58 | 85
2026-03-22 | Sunday | 296.531 | 2564.816 | 141.1342 | 35.8195 | 207.41 | 284.694 | 65 | 90
2026-03-23 | Monday | 1092.302 | 2848.44 | 191.0659 | 27.6928 | 479.6248 | 100 | 70 | 84
2026-03-24 | Tuesday | 1719.294 | 3981.452 | 169.7608 | 38.9304 | 480.705 | 220.5708 | 60 | 80
2026-03-25 | Wednesday | 345.95 | 2637.483 | 160.4674 | 39.3781 | 473.0888 | 223.8832 | 54 | 85
2026-03-26 | Thursday | 829.624 | 1709.083 | 158.1507 | 45.3044 | 487.9692 | 465.8372 | 66 | 82
2026-03-27 | Friday | 1848.831 | 393.616 | 193.1023 | 58.1026 | 424.9838 | 279.2972 | 84 | 65
2026-03-28 | Saturday | 2448.601 | 452.424 | 159.279 | 53.5503 | 453.1716 | 189.148 | 76 | 71
2026-03-29 | Sunday | 356.688 | 1404.658 | 149.2588 | 43.0571 | 241.9984 | 488.8538 | 62 | 82
2026-03-30 | Monday | 1155.885 | 738.258 | 165.7419 | 64.6264 | 426.8334 | 405.2424 | 64 | 80
2026-03-31 | Tuesday | 575.514 | 681.99 | 180.2609 | 48.8048 | 355.7764 | 282.492 | 66 | 86
2026-04-01 | Wednesday | 267.444 | 3797.512 | 170.685 | 63.8168 | 378.448 | 491.249 | 50 | 82
2026-04-02 | Thursday | 3242.834 | 350.428 | 212.6621 | 65.6024 | 442.4524 | 458.748 | 77 | 62
2026-04-03 | Friday | 143.595 | 1251.367 | 166.8106 | 50.5291 | 260.0068 | 346.7206 | 65 | 86
2026-04-04 | Saturday | 214.435 | 2575.057 | 143.3935 | 41.225 | 275.6948 | 405.244 | 61 | 80
2026-04-05 | Sunday | 58.813 | 5459.502 | 110.8149 | 77.348 | 177.5612 | 496.8776 | 45 | 71
2026-04-06 | Monday | 535.468 | 5154.509 | 143.5766 | 62.4772 | 268.4936 | 403.3698 | 42 | 81
2026-04-07 | Tuesday | 788.076 | 2945.231 | 169.3182 | 57.8747 | 480.652 | 465.7556 | 58 | 79
2026-04-08 | Wednesday | 1497.71 | 2684.191 | 178.0163 | 78.536 | 439.0994 | 420.0876 | 51 | 77
2026-04-09 | Thursday | 547.304 | 1440.074 | 155.0713 | 44.8695 | 343.4978 | 321.9842 | 64 | 86
2026-04-10 | Friday | 400.626 | 505.661 | 164.8236 | 52.1758 | 291.7448 | 421.7314 | 67 | 82
2026-04-11 | Saturday | 2308.576 | 140.563 | 176.2724 | 56.584 | 412.9836 | 143.7078 | 85 | 60
2026-04-12 | Sunday | 1069.913 | 641.47 | 157.3188 | 83.8833 | 368.3206 | 496.4758 | 76 | 76
2026-04-13 | Monday | 1470.544 | 209.808 | 153.5085 | 68.7416 | 334.8352 | 338.1456 | 75 | 55
2026-04-14 | Tuesday | 83.238 | 4665.314 | 169.0212 | 53.1661 | 241.0444 | 252.7482 | 55 | 90
2026-04-15 | Wednesday | 344.995 | 3981.537 | 191.8829 | 47.0169 | 445.779 | 475.5386 | 52 | 91
2026-04-16 | Thursday | 160.386 | 3055.969 | 165.1235 | 41.6935 | 260.7856 | 430.1488 | 46 | 84
2026-04-17 | Friday | 162.969 | 1444.627 | 156.0808 | 34.2816 | 328.126 | 180.9776 | 60 | 92
2026-04-18 | Saturday | 1884.92 | 1708.496 | 166.7526 | 51.1245 | 490.6568 | 345.3568 | 72 | 73
2026-04-19 | Sunday | 114.631 | 1375.259 | 132.3286 | 50.3787 | 208.88 | 281.1672 | 55 | 90
2026-04-20 | Monday | 357.325 | 6510.008 | 163.5701 | 47.6635 | 247.4478 | 402.358 | 41 | 84
2026-04-21 | Tuesday | 1591.063 | 1494.547 | 206.247 | 48.8199 | 454.972 | 409.9402 | 74 | 76
2026-04-22 | Wednesday | 1439.495 | 1512.711 | 206.7479 | 48.864 | 465.4708 | 100 | 76 | 63
2026-04-23 | Thursday | 1224.53 | 7012.718 | 173.9235 | 86.18 | 432.8982 | 455.7186 | 52 | 79
2026-04-24 | Friday | 1654.764 | 1635.232 | 189.4594 | 49.4782 | 493.9426 | 412.3124 | 66 | 70
2026-04-25 | Saturday | 271.619 | 1828.861 | 160.1489 | 52.8088 | 423.5342 | 240.8786 | 64 | 84
2026-04-26 | Sunday | 851.455 | 3287.933 | 163.2704 | 103.2244 | 466.6952 | 468.217 | 52 | 69
2026-04-27 | Monday | 311.921 | 4857.391 | 158.1119 | 70.5593 | 323.633 | 495.6994 | 47 | 86
2026-04-28 | Tuesday | 199.558 | 4349.098 | 160.4672 | 40.1148 | 497.3706 | 331.607 | 54 | 94
2026-04-29 | Wednesday | 244.849 | 5213.507 | 174.8586 | 66.2586 | 377.7572 | 497.0338 | 49 | 82
2026-04-30 | Thursday | 2415.945 | 936.744 | 176.8726 | 62.2066 | 323.802 | 349.6848 | 70 | 62
2026-05-01 | Friday | 2131.215 | 857.696 | 209.8953 | 44.0765 | 470.627 | 259.2596 | 74 | 60